February 2026

SECTION 03 45 00

PRECAST ARCHITECTURAL CONCRETE – SITE (wet & dry cast production methods)

Specifier Notes: This section covers RockCast Custom Site Solutions. The section must be carefully reviewed and edited by the Architect to meet the requirements of the project and local building code. Coordinate this section with other specification sections and the drawings. Consult Reading Rock, Inc. (800.482.6466) for assistance in editing this section for the specific application.

PART 1 GENERAL

  - RELATED DOCUMENTS

    - Drawings and general provisions of the Contract, including General and Supplementary Conditions and Specification Sections, apply to this Section.

  - SUMMARY

    - Section Includes

      - Precast Architectural Concrete: RockCast Custom Site Solutions

    - Related Sections

      - Include, as necessary.

  - REFERENCES

Specifier Notes: List of standards referenced in this section, complete with designations and titles. This article does not require compliance with standards but is merely a list of those used.

    - ASTM A 615/A 615M - Deformed and Plain Billet-Steel Bars for Concrete Reinforcement.

    - ASTM A767/A767M - Zinc-Coated (Galvanized) Steel Bars for Concrete Reinforcement.

    - ASTM C 33 - Concrete Aggregates.

    - ASTM C 150 - Portland Cement.

    - ASTM C 173 - Air Content of Freshly Mixed Concrete by the Volume Method

    - ASTM C 231 - Air Content of Freshly Mixed Concrete by the Pressure Method

    - ASTM C 260 - Specification for Air Entrained Admixtures for Concrete

    - ASTM C 270 - Mortar for Unit Masonry.

    - ASTM C 426 - Linear Drying Shrinkage of Concrete Masonry

    - ASTM C 494 - Chemical Admixtures for Concrete.

    - ASTM C 618 - Coal Fly Ash and Raw or Calcined Natural Pozzolan for use as a Mineral Admixture in Concrete

    - ASTM C 666 - Resistance of Concrete to Rapid Freezing and Thawing.

    - ASTM C 979 - Pigments for Integrally Colored Concrete.

    - ASTM C 989 - Ground Granulated Blast- Furnace Slag for use in Concrete

    - ASTM C 1194 - Compressive Strength of Architectural Cast Stone.

    - ASTM C 1195 - Absorption of Architectural Cast Stone.

    - ASTM C 1364 - Architectural Cast Stone.

    - Cast Stone Institute Technical Manual (Current Edition).

    - ACI 530 “Building Code Requirements for Masonry Structures”

  - DEFINITIONS

    - Design Reference Sample: Provide a sample of approved precast architectural concrete color, finish and texture, preapproved by Architect.

    - Cast Stone: An architectural product manufactured to copy fine grain texture and color of natural cut stone used in various construction applications.  Meets ASTM C 1364 requirements.

      - Dry Cast Concrete Products:  Manufactured from zero-slump concrete.

        - Vibratory Dry Hand Tamp Casting Method: Vibratory compaction by hand tamping of earth-moist, zero-slump concrete against rigid mold until it is densely compacted.

      - Wet Cast Concrete Products: Manufactured from measurable slump concrete.

        - Wet Casting Method: Manufactured from measurable slump concrete and consolidated into a mold.

  - SUBMITTALS

Specifier Notes: Edit the shop drawing submittal description as required for the project.

    - Comply with Section 01330 - Submittal Procedures.

    - Product Data: Submit manufacturer's product data.

    - Shop Drawings: Submit manufacturer's shop drawings, including profiles, cross sections, modular unit lengths, reinforcement (if required), exposed faces, anchors and anchoring method recommendations (if required), and annotation of unit types and location.

    - Samples: Submit pieces of manufacturer's material that represent general range of texture, finish and color proposed for project.

    - Test Results:

      - Submit manufacturer’s test results from previously made material using materials from same sources proposed for use in project. Warranty: Submit manufacturer's standard warranty.

  - QUALITY ASSURANCE

    - Manufacturer’s Qualifications:

      - Sufficient plant facilities to provide quality, shapes, quantities, and sizes of units required without delaying progress of work.

      - Minimum of 10 years’ experience producing similar materials

      - Fabricating plant shall be certified by the National Precast Concrete Association (NPCA) or the Cast Stone Institute (CSI)

      - Manufacturers shall have an internal Quality Assurance Testing Program with certified laboratory technician(s).

  - DELIVERY, STORAGE, AND HANDLING

    - Delivery:

      - Deliver products secured to a shipping pallet and protect them from damage and discoloration.

      - Provide itemized shipping list.

      - Number each piece individually, as required, to match shop drawings and schedules.

    - Storage:

      - Store product and installation materials in accordance with manufacturer's instructions.

      - Store product on pallets with nonstaining, waterproof covers.

      - Do not double stack pallets.

      - Ventilate products under covers to prevent condensation.

      - Prevent contact with dirt and splashing.

    - Handling:

      - Protect products, including corners and edges, during storage, handling, and installation to prevent chipping, cracking, staining, or other damage.

      - Handle long units at center and both ends simultaneously to prevent cracking.

      - Do not use pry bars or other equipment in a manner that could damage product.

  - SCHEDULING

Specifier Notes: Revise scheduling as required for the project. Delete this article if not required.

    - Schedule and coordinate production and delivery of material with adjacent work.

PART 2 – PRODUCTS

  - MANUFACTURER

    - Reading Rock, Inc., 4600 Devitt Drive, Cincinnati, Ohio 45246  
Phone (800) 482-6466  Fax (513) 874-2361
Web Site www.readingrock.com  E-Mail info@readingrock.com

    - Substitutions are not permitted.

  - PRECAST ARCHITECTURAL CONCRETE MATERIAL - SITE

Specifier Notes: Specify color and profiles. Custom color matches are available but should be reviewed with Reading Rock representative prior to the specification being released.

    - RockCast Custom Site Solutions

    - Compliance: ASTM C 1364.

    - Casting Method: Vibrant dry hand tamp or wet cast as specified and/or required.

    - Texture: Smooth [As specified].

    - Colors: [Buffstone] [Charlotte Tan] [Crystal White] [Grey Whisp] [Riesling] [Silver] [Smokehouse] [Starbuck] [As indicated on the drawings].  [Match sample in architect office.]

    - Test Results:

      - Compressive Strength, ASTM C 1194: Minimum 6,500 psi at 28 days.

      - Absorption, ASTM C 1195: Maximum 6 percent, by the cold-water method, at 28 days.

      - Linear Shrinkage, ASTM C 426: Less than .065 percent.

      - Density, ASTM C 140: Greater than 120 pounds per cubic foot.

      - Freeze-Thaw, ASTM C 666: Less than 5 percent cumulative mass loss after 300 cycles.

      - Air Content: ASTM C 173 or C 231: Wet cast product shall be 4-8% for

      - s exposed to freeze-thaw environments; air entrainment is not required for VDT products.

      - Curing: Cure in enclosed chamber at 100 percent relative humidity and minimum 90 degrees F for up to 16 hours and yard cure for a minimum of 3 days.

  - PRECAST ARCHITECTURAL CONCRETE MATERIAL - SITE

Specifier Notes: Manufacturer will choose type and color of portland cement and aggregates based on the color specified by the Architect.

    - Portland Cement, ASTM C 150, Type I or III: White and/or gray as required to match specified color.

    - Coarse Aggregates, ASTM C 33, except for gradation: Granite, quartz, or limestone.

    - Fine Aggregates, ASTM C 33, except for gradation: Manufactured or natural sands.

    - Pigments, ASTM C 979 except do not use carbon black pigments: Inorganic iron oxide pigments.

    - Admixtures:

      - Water Reducing, Retarding, and Accelerating Admixtures: ASTM C 494.

      - ASTM C 260: Air-entraining admixtures

      - Other admixtures: Integral water repellents and other chemicals, for which no ASTM Standard exists, shall be previously established as suitable for use in concrete by proven field performance or through laboratory testing.

      - ASTM C 618: Mineral admixtures

      - ASTM C 989: Ground granulated blast-furnace slag

    - Water, ASTM C1602: Potable.

    - Reinforcing Bars: ASTM A 615: Deformed steel bars.  Epoxy coated or galvanized when covered with less than 1-1/2 inches of material.

      - Galvanized Coating, ASTM A 767.

  - TEXTURE AND COLOR

    - General: Match texture and color of full-size sample on file with Architect.

    - Texture of Surfaces Exposed to View:

      - Fine-grained texture like natural stone.

      - Approximately equal to approved sample when viewed in direct daylight at 10 feet.

    - Surface Air Voids:

      - Size: Maximum 1/32 inch.

      - Density: Less than 3 occurrences per any 1 square inch

      - Viewing Conditions: Not obvious under direct daylight at 10 feet.

    - Finish:

      - Minor chipping resulting from shipping and delivery shall not be grounds for rejection of material.

      - Minor chips shall not be obvious under direct daylight at 20 feet, as determined by Architect.

      - The occurrence of crazing or efflorescence shall not constitute a cause for rejection.

    - Color Variation:

      - Viewing Conditions: Compare in direct daylight at 10 feet, between material of similar age, subjected to similar weather conditions.

      - Total Color Difference: ASTM C 1364, 6 units

      - Hue Difference: ASTM C 1364, 2 units

  - MORTAR

Specifier Notes: Edit the following two sentences as required.

    - Mortar: [ASTM C 270, Type N] [As specified in Section 04060]  [As specified in Section 04200]  [As specified in Section 04220].

    - Mortar Materials: [As specified in Section 04060] [As specified in Section 04200] [As specified in Section 04220].

  - ACCESSORIES

Specifier Notes: Specify Type 304 stainless steel anchors for highly corrosive environments, such as coastal areas, and for 100-year type construction. Shelf angles and other similar structural items should be galvanized. Reading Rock does not supply anchoring hardware for RockCast products but will assist in specifying anchors for a specific application.

    - Anchors: Non-corrosive type, sized for conditions.  [Brass] [Hot-dip galvanized steel] [Type 304 stainless steel]

    - Sealant: As specified in Section 079200.

    - Cleaner: Prosoco Sure Klean Custom Masonry Cleaner, Prosoco Sure Klean 600 Detergent Prosoco Sure Klean Vana Trol, or Prosoco Light Duty Cleaner*.

* Note: Aggressive cleaners may remove too much of the concrete surface paste making some color appear to be “stripped.”  Therefore, on darker material a less aggressive cleaner such as Prosoco’s Light Duty Cleaner should be used to maintain color.   Consult Reading Rock for additional information.

  - FABRICATION

    - Shapes: Unless otherwise indicated in drawings, provide:

      - Suitable wash on products with exposed top surfaces.

      - Drips on projecting units, where applicable.

  - TOLERANCES

    - General: Manufacture precast architectural concrete material within tolerances in accordance with Cast Stone Institute Technical Manual, unless otherwise specified.

    - Cross Section Dimensions: Do not deviate by more than plus or minus 1/8 inch from approved dimensions.

    - Length of Units: Do not deviate by more than length/360 or plus or minus 1/8 inch, whichever is greater, not to exceed plus or minus 1/4 inch.

    - Warp, Bow, or Twist: Do not exceed length/360 or plus or minus 1/8 inch, whichever is greater.

  - PRODUCTION QUALITY CONTROL

    - Mix Designs: Test new and existing mix designs for applicable compressive strength and absorption compliance before manufacturing precast architectural concrete material.

    - Plant Production Testing: Test compressive strength and absorption from specimens selected at random from plant production.  Tests to be conducted by certified laboratory testing technicians.

    - Custom Site Material: Test in accordance with ASTM C 1194 and C 1195.

Part 3 – Execution

  - EXAMINATION

    - Examine supporting structural frame or foundation and conditions for compliance with requirements for installation tolerances, bearing surface tolerances, and other conditions affecting performance of the Work.

    - Do not install precast concrete material until supporting cast-in-place concrete has attained minimum allowable design compressive strength and supporting steel or other structure is structurally ready to receive loads from precast concrete material.

    - Proceed with installation only after unsatisfactory conditions have been corrected.

    - Examine material before installation.  Do not install unacceptable products.

      - All RockCast products are shipped on a pallet and have one unfinished side.

  - INSTALLATION

Specifier Notes: (May not be applicable on all RockCast Custom Site Solutions applications) - RockCast products, like all concrete masonry products, may shrink slightly with the loss of moisture, therefore the use of elastic (control) joints is highly recommended when applicable in the site-specific application. Refer to CMHA Tech Note CMU-TEC-009-23 “Crack Control Strategies for Concrete Masonry Construction” You can view CMHA Tech Notes at www.readingrock.com

    - Install material in conjunction with clips, accessories, and other necessary items and as required for connecting precast architectural concrete products to supporting members.

    - When applicable, pull material from multiple cubes during installation to minimize variation in color and help with natural blending.

    - Cut material using motor-driven masonry saws.  Finished ends should be turned to the visible side and the saw cut turned to the inside to hide exposed aggregates and saw marks.

    - Do not use pry bars or other equipment in a manner that could damage material.

    - Fill dowel holes and anchor slots completely with mortar or non-shrink grout.

    - Use Type N mortar (ASTM C 270), unless specified otherwise.

    - Per ACI 530.1, it is not necessary, nor recommended, to wet the material prior to installation.

    - Fill vertical joints with mortar.

    - Leave head joints in copings and similar components open for sealant.

    - Make joints 3/8 inch, unless otherwise indicated on the drawings.

    - Mortar joints should have a slightly concave profile (unless specified otherwise).

    - Remove excess mortar immediately.

    - Cover freshly installed masonry products as required to assist with the curing process.

    - Sealant Joints:

      - As specified in Section 07900.

      - Prime ends of units, insert properly sized backing rod, and install sealant.

      - Provide sealant joints at following locations:

        - Copings and precast architectural concrete material with exposed tops.

        - Control and expansion joints.

        - As indicated on the drawings.

  - TOLERANCES

    - Installation Tolerances:

      - Variation from Plumb: Do not exceed 1/8 inch in 5 feet or 1/4 inch in 20 feet or more.

      - Variation from Level: Do not exceed 1/8 inch in 5 feet, 1/4 inch in 20 feet, or 3/8 inch maximum.

      - Variation in Joint Width: Do not vary joint thickness more than 1/8 inch or 1/4 of nominal joint width, whichever is greater.

      - Variation in Plane Between Adjacent Surfaces: Do not exceed 1/8-inch difference between planes of adjacent units or adjacent surfaces indicated to be flush with units.

  - CLEANING

    - Clean exposed material after mortar is thoroughly set and cured.  Material should be cleaned under all circumstances to remove job site and general handling grime.

    - Perform test of cleaner on small area of each color and receive approval by Architect before full cleaning.  Let test area dry 4 to 5 days before inspection.  Keep test area for future comparison.

    - Apply cleaner to material in accordance with cleaner manufacturer's instructions. (See approved cleaners in section 2.6C).

    - Do not use the following to clean material:

      - Muriatic acid.

      - Power washing.

      - Sandblasting.

      - Harsh cleaning materials or methods that would damage or discolor surfaces.

    - Spot clean all stained areas by using a neutral, non-aggressive cleaner. This may require effort to remove tougher marks or stains.  Examples of off-the-shelf cleaners: Citrus cleaner or Simple Green.  Always start with the most neutral cleaner and work your way toward the more aggressive cleaners.

  - REPAIR

    - Repair chips and other surface damage noticeable when viewed in direct daylight at 20 feet.

    - Repair with touchup materials provided by manufacturer in accordance with manufacturer's instructions.

    - Repair methods and results to be approved by Architect.

  - INSPECTION AND ACCEPTANCE

    - Inspect completed installation in accordance with Cast Stone Institute Technical Manual.

  - WATER REPELLENT and SEALERS

Specifier Notes: RockCast’s Custom Site Solution Series products incorporate an integral water repellent in the VDT mix design. Sealers are recommended in heavier traffic areas and in areas where deicing salts are used. Delete this article if not required. Consult Reading Rock for additional information.

    - Sealer: Prosoco Sure Klean Weather Seal Siloxane WB or PD or Hydrozo Enviroseal 7 according to manufacturer’s recommendations.  Apply water repellent for weatherproofing in accordance with water repellent manufacturer's instructions.

    - Apply water repellent after installation, cleaning, repair, inspection, and acceptance of material is completed.

  - PROTECTION

    - Protect installed material from splashing, stains, mortar, and other damage.

  - MAINTENANCE

    - Annual maintenance is recommended; however, in cases of extreme use, the best time for application is when the appearance of the product shows wear or appear dull.

    - Check the precast for broken and chipped pieces. If damaged, contact manufacturer before repairing to order a patch kit and obtain patching procedures.

    - De-icing salts can damage concrete, causing them to scale or break apart. If necessary, these chemicals should be used sparingly and with caution on our concrete products.  Salt based products are not recommended.  See recommendations for sealing after installation.

    - De-icers should be used only when necessary to help loosen snow and ice. Do not over-apply de-icing products.  Mix the deicers with sand to increase their effectiveness and reduce overall use.  Always read and follow label directions when applying de-icing materials.

    - Calcium magnesium acetate chloride tends to cause the least amount of

damage to Precast Concrete

END OF SECTION