HOWE TOWNSHIP MUNICIPAL AUTHORITY

90 Juniata Parkway East, Building A, Newport, PA 17074

AGENDA
Regular Monthly Meeting

5:30 PM, October 20, 2025
Hope Eternal United Methodist Church, 2 Burd Road, Newport, PA

Call to Order 
Attendance 
Public Comments  
Approval of meeting minutes held on September 15, 2025
Approval of Treasurer Reports & Bill Approval September
Communications from local, state, and federal agencies and other organizations  
1. LSA Statewide Grant – The next CFA meeting is scheduled for mid-November hoping awards will be announced then.
Solicitor/Project/Engineer Status:
1. Solicitor – Lien status on delinquent customers
2. Buffalo Crossing –   
3. Engineer – A summary of HRG’s activities in the last month are as follows:

Buffalo Crossing Pump Station Drawings and Calculations Submission No. 1 was reviewed and a comment response letter provided to the developer. 

HRG held a series of meetings with PennDOT regarding the upcoming paving project. The PennDOT drawings were reviewed, the only conflict discovered was one Intermediate Cleanout assembly (ICO-8 on HTMA drawings) located in an area the pavement surface is being elevated. It is recommended that the Authority proceed with an "Abbreviated Incorporated Work" inclusion of the labor required to raise the valve boxes and cleanout cover for the Intermediate Cleanout Assembly. What that means is the Authority purchase the attached valve boxes (or similar model) and PennDOT will take care of the labor costs for their Contractor. The larger cleanout cover can simply be cut out of the pavement and raised to grade, with no need to purchase a riser. This option will be the least amount of HRG engineering time, and give PennDOT everything they need to complete the work. In order for there to be a reimbursement, there are more comprehensive forms and data HRG would have to provide to PennDOT. Furthermore, other options would require the Authority to cost share the labor. If the Board has no exceptions, HRG will prepare the documents for the Board to ratify at the November meeting.

Operations/Maintenance/PA 811 Status:

1. Operations status  -  S. Sauers looking into air scrubber for Howe PS with Bio Triad, wtg quote.
2. Maintenance status  -  No grinder issues/replacements
3. PA 811 – 1 ticket completed (11CR fiber optics)
Unfinished/Current Business:
1. Herring Roll & Solomon, P.C. almost completed with Audit.

2. Is Herb Stoner still our SEO?

New Business:

1. C. Bitting stating driveway stone needed. H. Stoner’s punch list was completed per Notice of Non Conforming Work.
2. 2025 Preliminary Budget discussion, discuss raising tapping fee rates from $4,000 (eff 2/18/2025) to $5,000.   

3. Extend C. Putt Reservation Capacity Agreement

4. Office Phone/Internet

5. Odor Control System Quote for Howe Pump Station and Grant submission.
6. Cost Share Reporting – new request to obtain flow numbers on 1st day every Month.  Motion to pay 3rd Q Cost Share $4,356.37.
Good and welfare       
Adjournment                  
