## Fire Prevention Checklist
House Fire Solutions™ – Home Fire Prevention & Safety Checklist
Category | Task | Frequency | Responsible Person | Status (🕒 / ⚠️ / ✅) | Notes
Smoke Alarms & Detection | Install smoke alarms on every level and in bedrooms | Once / As needed |  | 🕒
Smoke Alarms & Detection | Test all smoke alarms using test button | Monthly |  | 🕒
Smoke Alarms & Detection | Replace smoke alarm batteries | Every 6–12 months |  | 🕒
Smoke Alarms & Detection | Replace smoke alarm units (date check) | Every 10 years |  | 🕒
Smoke Alarms & Detection | Ensure alarms are interconnected | Initial setup |  | 🕒
Smoke Alarms & Detection | Add strobe/vibration alarms if needed | As needed |  | 🕒
Fire Extinguishers | Place ABC extinguishers on each floor | Once / As needed |  | 🕒
Fire Extinguishers | Check pressure gauges (in green) | Monthly |  | 🕒
Fire Extinguishers | Train household on PASS | Twice a year |  | 🕒
Fire Extinguishers | Service/replace expired extinguishers | Annually / As needed |  | 🕒
Electrical Safety | Schedule licensed electrician inspection | Every 3–5 years |  | 🕒
Electrical Safety | Avoid overloaded outlets/extension cords | Daily habit |  | 🕒
Electrical Safety | Replace damaged or frayed cords immediately | As needed |  | 🕒
Electrical Safety | Install AFCIs/GFCIs where required | Once / Upgrades |  | 🕒
Electrical Safety | Do not run cords under rugs/furniture | Daily habit |  | 🕒
Kitchen Safety | Never leave cooking unattended | Daily habit |  | 🕒
Kitchen Safety | Keep combustibles away from stovetop | Daily habit |  | 🕒
Kitchen Safety | Keep a lid nearby to smother grease fires | Daily habit |  | 🕒
Kitchen Safety | Clean stove/hood to remove grease buildup | Monthly |  | 🕒
Kitchen Safety | Turn pot handles inward | Daily habit |  | 🕒
Heating & Fireplace | Have chimneys/vents cleaned by a pro | Annually |  | 🕒
Heating & Fireplace | Keep space heaters 3 feet from combustibles | Daily habit |  | 🕒
Heating & Fireplace | Use fireplace screen; dispose of cool ashes in metal bin | Each use |  | 🕒
Heating & Fireplace | Turn off heaters before bed/when leaving | Each use |  | 🕒
Laundry & Dryer | Clean lint filter before/after each load | Each use |  | 🕒
Laundry & Dryer | Clean dryer vent and ducting | Every 6 months |  | 🕒
Laundry & Dryer | Use rigid/semi-rigid venting (not plastic) | Once / Upgrade |  | 🕒
Laundry & Dryer | Do not run dryer when sleeping or away | Daily habit |  | 🕒
Candles/Smoking/Open Flames | Blow out candles before leaving/sleeping | Each use |  | 🕒
Candles/Smoking/Open Flames | Keep flames 12" from anything that burns | Each use |  | 🕒
Candles/Smoking/Open Flames | Use flameless candles where possible | As preferred |  | 🕒
Candles/Smoking/Open Flames | Smoke outside; use deep, sturdy ashtrays | Each use |  | 🕒
Garage & Workshop | Store fuels/paints in approved metal containers | Ongoing |  | 🕒
Garage & Workshop | Keep combustibles away from pilot lights/heat | Ongoing |  | 🕒
Garage & Workshop | Avoid unattended charging of lithium-ion batteries | Ongoing |  | 🕒
Garage & Workshop | Install heat detector (garage-rated) | Once / Upgrade |  | 🕒
Family & Child Safety | Teach kids smoke alarm sound & response | Twice a year |  | 🕒
Family & Child Safety | Practice stop, drop, and roll | Twice a year |  | 🕒
Family & Child Safety | Keep matches/lighters out of reach | Ongoing |  | 🕒
Escape Plan & Emergency Prep | Create two-exit plan for each room | Once / Review annually |  | 🕒
Escape Plan & Emergency Prep | Practice daytime and nighttime fire drills | Twice a year |  | 🕒
Escape Plan & Emergency Prep | Designate outside meeting point | Once / Review |  | 🕒
Escape Plan & Emergency Prep | Store critical docs in fireproof safe | Once / Review |  | 🕒
Escape Plan & Emergency Prep | Know gas/power/water shutoff locations | Once / Review |  | 🕒
Fireproofing & Upgrades | Install fire-resistant roofing/siding/drywall | As project |  | 🕒
Fireproofing & Upgrades | Apply flame-retardant spray to fabrics | As needed |  | 🕒
Fireproofing & Upgrades | Clear dead plants/debris around home | Seasonally |  | 🕒
Fireproofing & Upgrades | Create 30-ft defensible space | Seasonally |  | 🕒
Fireproofing & Upgrades | Install ember-resistant vent screens | Once / Upgrade |  | 🕒
Annual Review | Add fire safety reminders to calendar | Annually |  | 🕒
Annual Review | Update emergency contacts & go bag | Annually |  | 🕒

## Annual Fire Safety Review
House Fire Solutions™ – Annual Fire Safety Review (Jan–Dec)
Month | Task | Area | Responsible Person | Status (🕒 / ⚠️ / ✅) | Notes
January | Test smoke & CO alarms | Whole home |  | 🕒
February | Review escape plan and meeting spot | Whole family |  | 🕒
March | Inspect outlets, cords, and power strips | Electrical |  | 🕒
April | Clean garage/shop; store fuels safely | Garage |  | 🕒
May | Clean dryer vent & ducts | Laundry |  | 🕒
June | Clear vegetation/debris 30 ft from home | Exterior |  | 🕒
July | Check grill & propane storage safety | Outdoor |  | 🕒
August | Review kids’ fire safety education | Family |  | 🕒
September | Check extinguisher pressure & locations | Whole home |  | 🕒
October | Chimney & furnace service | Heating/Fireplace |  | 🕒
November | Holiday cooking safety review | Kitchen |  | 🕒
December | Candle, string lights, and heater safety | Seasonal |  | 🕒