ill. SERVICING AND LOSS MITIGATION

A.  Title II Insured Housing Programs Forward Mortgages

- Default Servicing

# Mortgagee Property Preservation and Protection Action

  - Definitions

Property Preservation and Protection (P&P) actions are maintenance, security, and repair work required by HUD in order to ensure that the Property meets HUD's conveyance condition standards.

Mortgagee Neglect refers to the Mortgagee's failure to take action to preserve and protect the Property from the time it is determined (or should have been determined) to be vacant or abandoned, until the time it is conveyed to HUD.

# Standard

The Mortgagee must preserve and protect Properties that are the security for FHA-insured Mortgages that are in Default or presently in foreclosure. The Mortgagee is responsible for the management, scheduling, and execution of all activities and actions taken to preserve, secure, maintain and protect the Property, regardless of the amount that HUD may reimburse.

Mortgagees may use any qualified individual or business to perform P&P services on Properties that were secured by FHA-insured Mortgages; however, the Mortgagee remains fully responsible to HUD for its actions and the actions of its agents, individuals, and firms that performed such services.

The Mortgagee remains responsible for property damage or destruction to a vacant or abandoned Property resulting from Mortgagee Neglect. Such neglect includes, but is not limited to:

    - failure to adequately and accurately verify the occupancy status of a Property;

    - failure to complete timely and accurate property inspections;

    - failure to promptly and appropriately secure and continue to preserve and protect all vacant Properties according to HUD standards; and

    - failure to promptly notify the MCM of receipt of code violations and demolition notices and/or take appropriate action.

To ensure that the Mortgagee is not held liable for damage or delayed maintenance to the Property by the Borrower, their heirs, successors, or assigns, the Mortgagee must document and photograph any damage resulting from the Borrower that is identified during the First-Time Vacant Property Inspection.

# Photograph Requirements

The Mortgagee must use digital photography to document:

    - the condition of the Property at the FTV Property Inspection and any damage identified; and

    - the before and after conditions of the Property when performing Property P&P actions.

The Mortgagee must ensure a date stamp is printed within each photograph and is labeled accordingly with a description of the contents of the photograph.

# Required Documentation

The Mortgagee must:

    - take before and after photographs and upload them into P260 for each claimed Property P&P expense;

    - upload into P260 documentation and photographs showing any damage resulting from the Borrower that is identified using the FTV Property Inspection; and

    - retain in the Servicing File and the Claim Review File:

      - all copies of paid invoices or receipts or other documentation supporting all Property P&P expenses claimed by the Mortgagee; and

      - a chronology of the Mortgagee's Property P&P actions.

If documentation is incomplete, inadequate, or not provided, HUD will not accept a Mortgagee's certification of property condition and may:

    - reconvey the Property to the Mortgagee; or

    - seek reimbursement from the Mortgagee for HUD' s estimate of the cost of the repairs required to repair and restore the Property to conveyance condition.

HUD requires repayment of all or part of any claim reimbursement if it is determined that expenses claimed and paid were unnecessary or excessive, or that services claimed were not performed or were performed improperly or incompletely. The Mortgagee will not be reimbursed for the costs of protecting, operating, or preserving the Property, or removing debris from the Property after the time the Property should have been conveyed to HUD (24 CFR § 203.402(g)).

ill. SERVICING AND LOSS MITIGATION

A.  Title II Insured Housing Programs Forward Mortgages

2.	Default Servicing

To ensure that the Mortgagee is not held liable for damage or delayed maintenance to the Property by the Borrower, their heirs, successors, or assigns, the Mortgagee must document and photograph any damage resulting from the Borrower that is identified during the First-Time Vacant Property Inspection.

# Photograph Requirements

The Mortgagee must use digital photography to document:

    - the condition of the Property at the FTV Property Inspection and any damage identified; and

    - the before and after conditions of the Property when performing Property P&P actions.

The Mortgagee must ensure a date stamp is printed within each photograph and is labeled accordingly with a description of the contents of the photograph.

# Required Documentation

The Mortgagee must:

    - take before and after photographs and upload them into P260 for each claimed Property P&P expense;

    - upload into P260 documentation and photographs showing any damage resulting from the Borrower that is identified using the FTV Property Inspection; and

    - retain in the Servicing File and the Claim Review File:

      - all copies of paid invoices or receipts or other documentation supporting all Property P&P expenses claimed by the Mortgagee; and

      - a chronology of the Mortgagee's Property P&P actions.

If documentation is incomplete, inadequate, or not provided, HUD will not accept a Mortgagee's certification of property condition and may:

    - reconvey the Property to the Mortgagee; or

    - seek reimbursement from the Mortgagee for HUD' s estimate of the cost of the repairs required to repair and restore the Property to conveyance condition.

HUD requires repayment of all or part of any claim reimbursement if it is determined that expenses claimed and paid were unnecessary or excessive, or that services claimed were not performed or were performed improperly or incompletely. The Mortgagee will not be reimbursed for the costs of protecting, operating, or preserving the Property, or removing debris from the Property after the time the Property should have been conveyed to HUD (24 CFR § 203.402(g)).

Handbook 4000.1

Last Revised: 08/13/2025

1336

ill. SERVICING AND LOSS MITIGATION

A.  Title II Insured Housing Programs Forward Mortgages

2.	Default Servicing

# Property Preservation Allowances

- Definition

The Maximum Property Preservation Allowance is a pre-approved reimbursement for the aggregate of all property preservation expenses that do not exceed the line item allowances listed in HUD' s Property Preservation Allowances and Schedules.

# Standard

The Maximum Property Preservation Allowance is $5,000 per Property.

The following expenses are subject to the line item allowances in HUD's Property Preservation Allowances and Schedules but are not included in the

$5,000 maximum cost limit per Property:

  - debris removal;

  - grass cutting;

  - boarding;

  - inspections;

  - securing swimming pools;

  - sump pumps;

  - demolition;

  - vacant property registration fees; and

  - utilities.

# Requests for Exceeding Maximum Property Preservation Allowances

- Standard

The Mortgagee must request approval for expenses that exceed the Maximum Property Preservation Allowances from the MCM via P260 when:

  - the aggregate of all Property P&P expenses (excluding those not included in the $5,000 maximum cost limit) exceeds the Maximum Property Preservation Allowance;

  - a Property P&P cost will exceed the maximum line item allowance listed in the Property Preservation Allowances and Schedules; or

  - there is no specific line item allowance stated in the schedule for the expense.

When the Mortgagee submits an over-allowance request to exceed the Maximum Property Preservation Allowance, the Mortgagee must demonstrate their incurred P&P costs are at or near the Maximum Property Preservation Allowance.

Handbook 4000.1

Last Revised: 08/13/2025

1337

ill. SERVICING AND LOSS MITIGATION

A.  Title II Insured Housing Programs Forward Mortgages

2.	Default Servicing

# Required Documentation

The Mortgagee must upload all supporting documentation into P260, including a detailed description of what actions will be or were taken, an itemized list of the repairs and materials that will be or were used, relevant room dimensions, receipts, photographs, and a chronological listing of all Property P&P expenses incurred before submittal of the over-allowable expense request. Requests must be submitted at least five business days prior to the conveyance due date.

The following chart details requirements for over-allowable requests.

If Claimed Property	And the Cost of	Need Over-

Preservation Expenses are:

a Single Line Item Expense is:

allowable Approval?

| $5,000* or less | Greater than Appendix 7.0.A | Yes |
| --- | --- | --- |
| $5,000* or less | Equal to or less than Appendix 7.0.A | No |
| Greater than $5,000* | Greater than Appendix 7.0.A | Yes |
| Greater than $5,000* | Equal to or less than Appendix 7.0.A | Yes* |

*The $5,000 maximum cost limit does not include the cost of the following expenses: debris removal, grass cutting, boarding, inspections, securing of swimming pools, sump pumps, demolition, vacant property registration fees, and utilities. These expenses do not require an over-allowable request when the cost is equal to or less than Appendix 7.0.A.

# Appeals of Over-Allowable Request Decisions

The Mortgagee may appeal an initial over-allowance decision via P260, for review by the MCM.

The Mortgagee may submit a second appeal via P260 to the MCM. The MCM reviews and approves or denies the appeal or determines if further review by HUD is needed. The decision on the second appeal is final and no further appeals are accepted.

Handbook 4000.1

Last Revised: 08/13/2025

1338

ill. SERVICING AND LOSS MITIGATION

A.  Title II Insured Housing Programs Forward Mortgages

2.	Default Servicing

# Property P&P Requirements of Authorities Having Jurisdiction

- Definition

An Authority Having Jurisdiction (AHJ) refers to a state or local government, HOA, or other organization responsible for enforcing the requirements of a property-related code or standard including state law and local ordinance.

# Standard

Mortgagees are not exempt by HUD policy from adhering to state and local laws relating to the P&P of Properties securing FHA-insured Mortgages.

The Mortgagee must review the AHJ requirements, including those relating to occupancy of the Structures, to determine applicability for repair or remediation prior to conveyance of the Property to HUD.

Where state or local law inhibits the Mortgagee performing HUD's required Property P&P actions, such as connecting or disconnecting utilities, the Mortgagee must submit in P260 to the MCM notice of the restriction on the Property P&P action and a proposal on how the Mortgagee will otherwise protect the Property from damage.

Where the AHJ requires additional or more extensive P&P actions than required by HUD for conveyance, the Mortgagee may submit an over- allowance request via P260. The Mortgagee must upload with its request all documentation supporting the proposed additional work requirements and expenses necessary for compliance.

# Required Documentation

Where state or local law inhibits the Mortgagee performing HUD's required Property P&P actions, the Mortgagee must note the restriction in the Servicing File and the Claim Review File and include a copy of the notice to the MCM, the MCM's approval or denial of the Mortgagee's proposal, and the applicable state, local, or AHJ requirement.

# Securing and Maintaining the Property

- Standard

The Mortgagee must secure the Property to prevent unauthorized entry and protect against weather-related damage, and must visibly display 24-hour emergency telephone contact information in a weather-tight location on a window or door or as otherwise required by an AHJ. Securing the Property should take place as soon as reasonably practicable, but no more than five Days following the determination that the Property is vacant and/or

Handbook 4000.1

Last Revised: 08/13/2025

1339

ill. SERVICING AND LOSS MITIGATION

A.  Title II Insured Housing Programs Forward Mortgages

- Default Servicing

abandoned post-foreclosure, or 15 business days following the determination that the Property is vacant and/or abandoned pre-foreclosure.

# Locksets

Where the Property has been conveyed to the Mortgagee after the foreclosure sale, the Mortgagee must:

    - ensure that the lockset on the main entranceway remains secured; and

    - rekey or replace all locksets on all secondary external entranceways and secure interior doorways, including attached garages and basements.

When rekeying, the Mortgagee must reset all locksets at the Property to a random identical key code and document the key code in the "Mortgagee's comments" of Part A of form HUD-27011. Iflocksets cannot be replaced or rekeyed or are antique or architectural locksets, the Mortgagee may utilize alternative methods to secure the door and prevent damage to the hardware or door.

# Exterior Doors

The Mortgagee must secure all exterior doors. For exterior sliding glass doors, the Mortgagee must latch these doors and install or provide slider locks, anti-lift blocks, security bars, or another secondary security mechanism.

The Mortgagee must not brace, nail shut, or otherwise block or damage the door. If no other locking mechanism exists, the Mortgagee must board/secure access doors, pet doors, and other panels providing access to basements and crawl spaces, where permitted by state or local law.

# (ii.ijGarage/Overhead Doors

The Mortgagee must secure the garage or overhead doors by:

    - using existing locksets at garage/overhead doors if they can be rekeyed to the random identical key code for the Property;

    - securing the garage/overhead doors with a padlock and hasp if no other locking mechanism exists;

    - repairing or replacing inoperable garage doors; and

    - disconnecting automatic garage door openers, if present, and leaving any remote keys or transmitters securely in the Property.

# Outbuildings

The Mortgagee must secure sheds and outbuildings by:

Handbook 4000.1

Last Revised: 08/13/2025

1340

ill. SERVICING AND LOSS MITIGATION

A.  Title II Insured Housing Programs Forward Mortgages

- Default Servicing

  - reusing and rekeying existing locksets at sheds and outbuildings to the dwelling key code, if possible;

  - securing shed and outbuilding doors with a padlock and hasp if no other locking mechanism exists; and

  - boarding/securing the outbuildings if no doors or other securing mechanism exists. The Mortgagee may convey with boarded/secured outbuildings and sheds without prior approval.

# Windows and Glazing

The Mortgagee must secure all windows by:

  - employing or installing locking mechanisms on all windows;

  - removing all broken glass debris from the interior and exterior of the Property; and

  - replacing broken or cracked window glazing. Where the AHJ requires replacement of dual-pane, tempered, thermal-sealed or

other specialized glazing in kind, the Mortgagee must obtain prior over-allowance approval from the MCM.

The Mortgagee must not brace, nail shut, or otherwise block or damage the windows.

# Boarding/Securing of Property Openings

Resecuring due to Vandalism or Unauthorized Property Access

The Mortgagee must resecure and reglaze windows, doors, and other access openings when the Property has been vandalized or accessed without authorization.

# Boarding/Securing Required by the AHJ

The Mortgagee may secure windows, doors, and other access openings by boarding/securing, if required by an AHJ, and may convey with such boarding/securing in place.

# Boarding/Securing where Unable to Secure by Other Methods

The Mortgagee may request approval from the MCM to board/secure openings that cannot be protected by any other method or where an imminent safety hazard exists, and to convey with boarding in place.

All boarding/securing materials that are leased or rented for the Mortgagee's convenience must be removed prior to conveyance of the Property to HUD.

Handbook 4000.1

Last Revised: 08/13/2025

1341

ill. SERVICING AND LOSS MITIGATION

A.  Title II Insured Housing Programs Forward Mortgages

2.	Default Servicing

# Roof Assembly Repair

The Mortgagee must ensure that all roof assemblies, including those securing attached garages, porches and patios, detached garages and any secondary structures associated with the origination collateral, and related weatherproofing are free of active leaks or other sources of water intrusion.

When a roof assembly leak is discovered, the Mortgagee must immediately repair the roofing system and mitigate further damage. The Mortgagee may provide such temporary repairs as tarping or patching until the permanent repair or replacement can be installed. The Mortgagee must ensure that permanent repairs or replacements, with materials matching or similar in color and material type, have been completed prior to conveyance to HUD. The Mortgagee is not required to obtain prior HUD approval for temporary repairs for which costs do not exceed the temporary roof repair line item allowance amount.

# Pools, Hot Tubs, and Spas

(i} In-Ground Pools, Hot Tubs, and Spas

Mortgagees must secure all in-ground swimming pools, hot tubs, and spas as required by local laws, codes, and ordinances. The Mortgagee must:

  - secure the pool, hot tub, and/or spa with a removable safety cover anchored to the pool deck or, if a cover cannot be anchored to the pool deck, board or otherwise secure the pool, hot tub, and/or spa; and

  - secure and repair any fences around the pool, hot tub, and/or spa to restrict access.

The Mortgagee must not drain operational in-ground pools. If the pool is empty, it is not necessary to refill the pool. The Mortgagee must drain hot tubs or spas located indoors or outdoors.

The Mortgagee must perform monthly maintenance and chemical treatments for operational pools. Where the Mortgagee must repair or drain the pool to mitigate damage or safety hazards, the Mortgagee must submit an over-allowance request.

(ii} Above-Ground Pools

Mortgagees must secure all above-ground swimming pools as required by local laws, codes, and ordinances. In addition to local requirements, the Mortgagee must:

  - drain the pool;

  - secure the pool with a removable cover; and

Handbook 4000.1

Last Revised: 08/13/2025

1342

ill. SERVICING AND LOSS MITIGATION

A.  Title II Insured Housing Programs Forward Mortgages

- Default Servicing

  - secure and repair any fences around the pool in order to restrict access.

Where the above-ground pool is in poor condition or cannot be secured, the Mortgagee must:

  - remove the above-ground pool and any built-up decking; and

  - remediate any resulting depression in the ground that may constitute a hazard.

# (iiiJPonds or Gardens

The Mortgagee must drain, if feasible, or cover any small backyard ponds, water gardens, or other water features.

# Drainage Systems and Basements

The Mortgagee must reattach, replace, repair and clear debris from existing roof drainage and foundation drainage systems. If no drainage system exists at the time of the FTV Property Inspection, the Mortgagee is not required to provide or install new systems.

The Mortgagee must ensure that downspouts provide positive drainage away from the Structure and that gutters are cleared and do not prevent drainage.

If the FTV Property Inspection reveals basement flooding, the Mortgagee must drain or pump the basement, identify the water sources, and make other such repairs to prevent equipment damage, mold and organic growth, and structural and material damage.

# Mold, Fungus, Discoloration, and Related Moisture Damage and Organic Growth

- Standard

When mold or related moisture damage is found in the Property during the FTV Property Inspection, the Mortgagee must mitigate the source of the moisture to prevent further damage. HUD will not reimburse costs related to mold or organic growth abatement if it determines that such mold or organic growth is due to Mortgagee Neglect. The Mortgagee must thoroughly document the condition and scope of the moisture damage at the FTV Property Inspection.

# Over-Allowance Request

The Mortgagee must submit an over-allowance request to the MCM for approval in the following circumstances:

Handbook 4000.1

Last Revised: 08/13/2025

1343

ill. SERVICING AND LOSS MITIGATION

A.  Title II Insured Housing Programs Forward Mortgages

- Default Servicing

  - initial efforts to eliminate the mold or organic growth and to remove moisture are ineffective and additional treatments are needed to remove moisture and prevent mold and moisture damage;or

  - the mold or organic growth poses a potential health and safety hazard.

Where the mold or organic growth poses a potential health or safety hazard, the Mortgagee must provide with its request:

  - a written report and/or any lab reports or other testing data supporting the health or safety hazard determination;

  - photographs of the discoloration;

  - dimensions of the affected areas;

  - a description of the initial mitigation efforts, including the basis for the selection of the method used;

  - the proposed scope of work for the abatement; and

  - at least two bids from licensed or certified mold remediation or hazardous materials contractors.

# Debris Removal, Cleaning, and Minor Repair

The Mortgagee must ensure that all interior and exterior debris is removed from the Property, including attics, basements, barns, storage spaces, and outbuildings, and that the Property is in Broom-swept Condition. The Mortgagee may request reimbursement for the storage or disposition of any Personal Property removed from the Property when such storage and disposition is required by the AHJ.

# {i} Equipment, Fixtures, and Appliances

The Mortgagee must ensure that all equipment, fixtures, and appliances present at the FTV Property Inspection and associated with origination collateral remain in the Property, unless approved by HUD for disposal.

The Mortgagee must empty and wipe clean the interior of all refrigerators and freezers. The Mortgagee must secure exterior clothes dryer vents and similar openings to prevent entry of pests. The Mortgagee must ensure that bathtubs, sinks, and toilets are cleaned and emptied.

(ii} Graffiti

The Mortgagee must remove or cover with similar or matching color all exterior and interior graffiti on all Structures and fencing.

Handbook 4000.1

Last Revised: 08/13/2025

1344

ill. SERVICING AND LOSS MITIGATION

A.  Title II Insured Housing Programs Forward Mortgages

2.	Default Servicing

# (iliJExterior Debris

The Mortgagee must ensure that the Property is free of external debris by removing all vehicles, boats, trailers, any unsafe or hazardous structures, and other Personal Property, as allowed and in accordance with state and local law requirements.

The Mortgagee may allow affixed Personal Property in sound and usable condition to remain in place that may add value to the Property, such as fountains, children's play structures, sheds, ramadas, pergolas, or gazebos.

- Fences

The Mortgagee must ensure that fences and gates present at the FTV Property Inspection are maintained in secure and upright condition, with no missing panels or sections.

# Pests

The Mortgagee must ensure that the Property is free of animals, vermin, and insect infestation and that any dead animals, vermin, and insects are removed from the Property.

When the Mortgagee determines the Property is infested with pests and that the infestation and removal may constitute a health or safety hazard, the Mortgagee may obtain professional pest control services; otherwise, the Mortgagee may employ over-the-counter pest control products.

When evidence of live wood boring insects is discovered, the Mortgagee must request an over-allowance for an inspection by a professional pest control service, and provide the report and treatment recommendations for over-allowance consideration to abate.

- Floors and Walkways

The Mortgagee must ensure that interior walking surfaces are safe or otherwise patched, replaced, or repaired to be free of hazards as follows:

  - any floor finishes, including carpeting, sheet vinyl, wood, laminate, ceramic or vinyl tiles, and all tack strips and fittings that are damaged, loose, or otherwise hazardous, must be removed. The Mortgagee is not required to replace these finishes once removed; and

  - holes or openings in interior walking surfaces must be patched, replaced, or repaired. Weak or spongy flooring must be inspected and, if needed, repaired to address hazardous conditions with an approved over-allowance.

Handbook 4000.1

Last Revised: 08/13/2025

1345

ill. SERVICING AND LOSS MITIGATION

A.  Title II Insured Housing Programs Forward Mortgages

- Default Servicing

The Mortgagee must repair damaged or missing handrails or stair treads on elevated exterior porches, patios, decks, and balconies where the distance from the finished floor to the ground surface is greater than 18 inches. If repair is not feasible, the Mortgagee must provide temporary rails, fencing, or other means to prevent or mitigate falls.

# {vll) Regulated Hazardous Materials

The Mortgagee must handle and dispose of hazardous materials regulated by federal, state, or local law in accordance with those laws.

Where removal of hazardous materials exceeds HUD' s reimbursable amounts for debris removal, the Mortgagee must submit an over- allowance request prior to incurring those costs. The Mortgagee must include with the request:

  - the relevant code or regulation describing the specific handling or disposal requirements;

  - if testing is required to confirm the presence of hazardous materials, detailed reports or test results, with information on the location of the materials, the scope of the work, and recommended methods for removal, abatement or remediation of the materials; and

  - at least two bids from licensed or certified hazardous materials contractors.

# Yard Maintenance and Snow Removal

- Definitions

Grass Cuts are the Property P&P actions of mowing, weeding, edge trimming, sweeping of all paved areas, and removing all lawn clippings, related cuttings, and debris.

# Standard

The Mortgagee is responsible for maintaining lawn and yard areas and trees, shrubs, and vines in compliance with AHJ requirements by performing Grass Cuts.

The Mortgagee must ensure that yards are maintained as follows:

  - Grass must be cut to a maximum of two inches in height.

  - Grass and weeds must be cut to the edge of the property line, and trimmed around foundations, bushes, trees, and planting beds.

  - Grass, trees, tree limbs, shrubs, and other vegetation that are obstructing the public right of way must be trimmed or removed.

Handbook 4000.1

Last Revised: 08/13/2025

1346

ill. SERVICING AND LOSS MITIGATION

A.  Title II Insured Housing Programs Forward Mortgages

- Default Servicing

  - Desert, xeriscape, or rock scape landscaping maintenance must be maintained through removal or spraying of weeds, grass trimming or cutting, and the removal of related cuttings and incidental debris.

  - Dead trees or tree limbs that pose a safety hazard or may potentially damage the Property must be removed or trimmed.

# Grass Cuts

- Standard

The Mortgagee must complete initial and ongoing Grass Cuts and desert landscaping according to the timelines set in the Grass Cut Schedule.

Should a Property require earlier or more frequent Grass Cuts or desert landscaping maintenance due to specific micro-climate conditions or other property requirements, the Mortgagee must perform such cuts or landscaping.

If additional or more frequent Grass Cuts are required as a result of code violations or neighbor complaints, the Mortgagee must submit to the MCM a request to exceed the allowable amount and documentation supporting the amended timeline.

# Required Documentation

Should a Property require earlier or more frequent Grass Cuts or desert landscaping maintenance due to specific micro-climate conditions or other property requirements, or if additional or more frequent Grass Cuts are required as a result of code violations or neighbor complaints, the Mortgagee must include in the Servicing File and the Claim Review File documentation supporting the Mortgagee's amended timeline.

# Shrubs

The Mortgagee must trim shrubs and remove cuttings once in a growing season, between April 1 and October 31.

# Snow Removal

The Mortgagee must ensure that the Property is safe and accessible throughout the winter season by:

  - removing snow from the entire entryway, public and other front yard walkways, porch, and driveway, following a minimum three-inch accumulation; and

  - complying with local codes and ordinances governing the removal of snow and ice.

Handbook 4000.1

Last Revised: 08/13/2025

1347

ill. SERVICING AND LOSS MITIGATION

A.  Title II Insured Housing Programs Forward Mortgages

2.	Default Servicing

# (t) HOA Yard Maintenance

If an HOA or Condominium Association provides for the yard maintenance and snow removal actions, the Mortgagee must not order duplicate yard maintenance and snow removal actions.

# Winterization Requirements

- Time Frame for Winterization

The Mortgagee must winterize the Property once, according to the Winterization Schedule. All Properties located in the state of Alaska must remain winterized at all times.

Where earlier or extended winterization is required due to specific micro- climate conditions or other property requirements, the Mortgagee must perform such winterization and include in the Servicing File and the Claim Review File documentation supporting the Mortgagee's amended winterization timeline.

Where the initial winterization is no longer effective, the Mortgagee must re- winterize the Property and include in the Servicing File and the Claim Review File documentation demonstrating the need to re-winterize.

# Utilities

  - Standard

The Mortgagee must tum all utilities off unless:

    - prohibited by state or local law;

    - required to remain on per HOA or Condominium Association requirements;

    - the Property is an attached unit or a dwelling with shared systems such as a row house, townhouse or Condominium;

    - required to remain on to protect the Property;

    - required to operate equipment such as sump pumps, swimming pools, wells, dehumidifiers, or other equipment or systems required to remain in operation; or

    - where the Mortgagee determines that utility disconnection fees and charges make it cost effective to maintain utility service rather than disconnect the service.

The Mortgagee must ensure that active piping and exposed electrical wiring is capped, valved, or otherwise terminated.

If utilities remain on, the Mortgagee must note in the Servicing File and the Claim Review File the reasons for maintaining utility service and, if

Handbook 4000.1

Last Revised: 08/13/2025

1348

ill. SERVICING AND LOSS MITIGATION

A.  Title II Insured Housing Programs Forward Mortgages

2.	Default Servicing

applicable, include a copy of the state or local requirement for maintaining utility service.

(ii} Sump Pumps

The Mortgagee must ensure that all installed or required sump pumps are in place and operational at all times, where state or local law permits electricity to remain on. The Mortgagee must repair or replace any non- functioning or missing equipment.

(iii}Utility Accounts

The Mortgagee must retain all utility accounts in its name until conveyance of the Property to HUD.

In states or jurisdictions where utilities should remain on, if there is any reason to believe that a Borrower may abandon a Property, the Mortgagee must contact the utility company to request notification of non-payment of utilities so that utilities can be transferred to the Mortgagee's name if the Borrower vacates the Property.

# (ivJPropane and Oil Systems

In jurisdictions requiring heat to remain on, the Mortgagee must put a "KEEP FULL" contract on with a local supplier when the Property has a propane or oil heating system. Otherwise, the Mortgagee must ensure that active piping is capped, valved, or otherwise terminated and all fuel tanks are emptied.

(v} Domestic Water

The Mortgagee must not cut water lines or remove water meters, unless required by the AHJ.

(vi}Wells

If the water supply is a private well, the Mortgagee must:

- turn off the well at the breaker panel;

- secure the breaker;

- disconnect and cap, valve, or otherwise terminate the water supply line between the Property and pressure tank;

- install a hose bib on the pressure tank side of the breaker, tagging the hose bib "For Water Testing;"

- drain all pressure tanks;

- drain pump housing if the pump is surface-mounted;

Handbook 4000.1

Last Revised: 08/13/2025

1349

ill. SERVICING AND LOSS MITIGATION

A.  Title II Insured Housing Programs Forward Mortgages

- Default Servicing

  - disconnect the check valve and drain all pump, suction, and discharge pipes, if the pump is submersible; and

  - winterize all fixtures.

# {vii}	Water, Plumbing, and Heating Systems

The Mortgagee must:

  - shut off or disconnect the domestic water supply at the curb;

  - drain all plumbing and heating systems; and

  - ensure that all toilets are cleaned and emptied.

Where a toilet or other plumbing fixture has been compromised by an unauthorized entry or wastewater backflow, the Mortgagee must complete re-winterization and cleaning.

# Winterization of Swimming Pools

During the winterization period, the Mortgagee must drain all lines and filters and secure and maintain operational swimming pools to prevent damage.

# Additional Winterization Requirements for Properties Located in Alaska

In addition to the winterization requirements described above, the Mortgagee must ensure that for all Properties located in the state of Alaska:

- the heat remains on, with the thermostat set at 55 degrees Fahrenheit; and

- all utilities remain connected and in working order, where permitted by state or local law.

# Responsibility for Damage Due to Freezing

The Mortgagee is responsible for any damage to plumbing and heating systems, sump pumps, and wells caused by untimely, inadequate, or improper maintenance or winterization.

HUD considers any damage caused by freezing and not documented at the FTV Property Inspection to be the responsibility of the Mortgagee and not reimbursable by HUD.

# Demolition

If the Mortgagee proposes to demolish or remove a primary dwelling structure, a significant section of the Structure, or a secondary structure that is associated with the origination collateral, the Mortgagee must request approval from the MCM to demolish and convey as a vacant lot. The Mortgagee is not required to request HUD approval to demolish damaged or unusable sheds and outbuildings that were

Handbook 4000.1

Last Revised: 08/13/2025

1350

ill. SERVICING AND LOSS MITIGATION

A.  Title II Insured Housing Programs Forward Mortgages

- Default Servicing

not included in the Property Value at origination. For requests to demolish a primary dwelling structure, the Mortgagee must submit to the MCM:

  - a BPO analysis estimating the value of the Property "As-Is" and as a vacant lot;

  - proposed demolition costs; and

  - a detailed chronology of the servicing and Property P&P actions related to the Property, including all efforts to address any damages or violations.

Where a local jurisdiction mandates demolition of a Property after foreclosure, the Mortgagee must provide the following to the MCM immediately upon discovery of the demolition order:

  - copies of all notices pertaining to demolition orders and hearings; and

  - inspection reports and photographic documentation establishing the condition of the Property when the Mortgagee first entered or took possession of the Property.

The MCM advises the Mortgagee as to whether to proceed with the demolition or to postpone the demolition until after conveyance to HUD.

# Requests Less than Five Business Days before Conveyance

The MCM rejects any requests received less than five business days before the end of the time frame to convey to HUD, unless the Mortgagee can demonstrate that it received the demolition notification with insufficient time to make a request by this deadline.

# Cost of Demolition

The cost of demolition is not included in the maximum cost limit per Property.

# Damage due to Mortgagee Neglect

If HUD determines that the damage to the Property is due to Mortgagee Neglect, the Mortgagee is responsible for the cost to demolish the Property. The MCM determines the acceptance of the vacant lot.

# Conveyance of Damaged Properties

  - Conveyance without Prior HUD Approval

The Mortgagee may convey Properties without prior written approval when:

    - the Property is in conveyance condition, with no Surchargeable Damage; and

    - the aggregate of all allowable Property P&P expenses does not exceed the Maximum Property Preservation Allowance and claimed P&P costs do not exceed the Property Preservation Allowances line item.

Handbook 4000.1

Last Revised: 08/13/2025

1351