Annual Drinking Water Quality Report 2025

Holly Park Terrace

Public Water Supply ID# NY0700777

858 Roberts Hollow Road

Lowman, NY 14861

#### INTRODUCTION

To comply with State and Federal regulations, Holly Park Terrace will issue annual reports describing the quality of your drinking water. The purpose of this report is to raise your understanding of drinking water and awareness of the need to protect our drinking water sources. Last year, your tap water met all State drinking water health standards. This report provides an overview of last year’s water quality.  Included are details about where your water comes from, what it contains, and how it compares to State standards. If you have any questions about this report or concerning your drinking water, please contact Robert Nocchi, water operator, (607) 565 - 4535. You may also contact the Chemung County Health Department at (607) 737-2019.

#### WHERE DOES OUR WATER COME FROM?

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activities. Contaminants that may be present in source water include microbial contaminants; inorganic contaminants; pesticides and herbicides; organic chemical contaminants; and radioactive contaminants. To ensure that tap water is safe to drink, the State and the EPA prescribe regulations that limit the amount of certain contaminants in water provided by public water systems. The State Health Department’s and the FDA’s regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

Our water system serves 300 people through 98 service connections.  Water is sourced from one 90-foot-deep and one 97-foot-deep groundwater wells.  The water is treated with chlorine prior to distribution to your home. In 2025, we produced enough water to meet our needs.

SOURCE WATER ASSESMENT

The NYS DOH has completed a source water assessment for this system, based on available information. Possible and actual threats to this drinking water source were evaluated. The state water source assessment includes a susceptibility rating based on the risk posed by each potential source of contamination and how easily contaminants can move through the subsurface to the wells. The susceptibility rating is an estimate of the potential for contamination of the source water; it does not mean that the water delivered to consumers is or will become contaminated. See section “Are there contaminants in our drinking water?” for a list of the contaminants that have been detected. The source water assessments provide resource managers with additional information for protecting source waters into the future. Water suppliers and county and state health departments will use this information to direct future source water protection activities. These may include water quality monitoring, resource management, planning, and education programs. As mentioned before, our water is derived from drilled wells. The source water assessment has rated these wells as having high susceptibility to microbials and nitrates; medium – high susceptibility to industrial solvents and other industrial contaminants. These ratings are primarily due to proximity of permitted wastewater discharge sites (Commercial/Industrial facilities regulated by State and/or Federal government) to the wells coupled with low intensity residential activities and agricultural land use in the assessment area. The wells draw from an unconfined aquifer of high hydraulic conductivity. Please note that, while the source water assessment rates our wells as being susceptible to microbials, our water is disinfected to ensure that the finished water delivered into your home meets the New York State drinking water standards for microbial contamination. A copy of this assessment, including a map of the assessment area, can be obtained by contacting us.

ARE THERE CONTAMINANTS IN OUR DRINKING WATER?

As the State regulations require, we routinely test your drinking water for numerous contaminants. These contaminants include total coliform, turbidity, inorganic compounds, nitrate, nitrite, lead and copper, volatile organic compounds, disinfection byproducts, and synthetic organic compounds. The table presented below depicts which compounds were detected in your drinking water. The State allows us to test for some contaminants less than once per year because the concentrations of these contaminants do not change frequently. Some of our data, though representative, are more than one year old.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline (1-800-426-4791) or the Chemung County Health Department at (607) 737-2019.

INFORMATION ON LEAD SERVICE LINE INVENTORY

Lead Service Line (LSL) is defined as any portion of pipe that is made of lead which connects the water main to the building inlet. An LSL may be owned by the water system, owned by the property owner, or both. The inventory includes both potable and non-potable SLs within a system. In accordance with the federal Lead and Copper Rule Revisions (LCRR) our system has prepared a lead service line inventory and have made it publicly accessible by contacting Bob Nocchi at (607) 737 – 2019.

ABBREVIATIONS USED IN TABLE

Action Level (AL): The concentration of a contaminant, which, if exceeded, triggers treatment, or other requirements, which a water system must follow.

Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible.

Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below, which there is no known or expected risk to health. MCLGs allow for a margin of safety.

Maximum Residual Disinfectant Level (MRDL): The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Maximum Residual Disinfectant Level Goal (MRDLG): The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contamination.

Milligrams per liter (mg/l): Corresponds to one part of liquid in one million parts of liquid (parts per million - ppm).

Micrograms per liter (µg/l): Corresponds to one part of liquid in one billion parts of liquid (parts per billion - ppb).

Nanograms per liter (ng/l) corresponds to one part of liquid to one trillion parts of liquid (parts per trillion - ppt).

Not Detected (ND): Laboratory analysis indicates that the constituent is not present.

Treatment Technique (TT): A required process intended to reduce the level of a contaminant in drinking water.

| Contaminants Detected in 2025 (or most recent test) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant | Violation Yes/No | Sample Date | Level Detected (Maximum Range) | Unit Measure-ment | MCLG | Regulatory Limit (MCL, TT or AL) | Likely Source of Contamination |
| Barium | No | 05/2025 | 0.1 | mg/L | 2 | MCL 2 | Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits. |
| Chlorine Residual | No | Daily | Average = 1.3 Range: 1.2 – 1.5 | mg/L | MRDLG 4 | MRDL 4 | Disinfectant necessary to control microbes. |
| Copper 5 Samples at customer taps Note 1 | No | 08/2023 | 90th % = 0.13 Range 0.007 – 0.16 | mg/L | 1.3 | AL 1.3 | Corrosion of household plumbing systems; Erosion of natural deposits; leaching from wood preservatives. |
| Lead 5 samples at customer taps Note 1 | No | 09/2024 | 90th % = 5.4 Range 1.5 – 6.0 | µg/L | 0 | AL 15 | Corrosion of household plumbing systems; Erosion of natural deposits; leaching from wood preservatives. |
| Nitrate | No | 12/2025 | 1.4 | mg/L | 10 | 10 | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion |
| Total Trihalomethanes (TTHM) | No | 08/2024 | 1.3 | µg/L | N/A | 80 | By-product of drinking water disinfection needed to kill harmful microbes. TTHMs are formed when source water contains organic matter. |
| Sodium | No | 05/2025 | 41 | mg/L | N/A | Note 2 | Naturally occurring; road salt; Water softeners; Animal waste. |
| Regulated Perfluoroalkyl Substances Detected in 2025 (or most recent test) |  |  |  |  |  |  |  |
| Perfluorooctanoic acid (PFOA) | No | 05/2025 | 2.9 | ng/L | N/A | MCL 10 | Released into the environment from widespread use in commercial and industrial applications. |
| Perfluorooctane sulfonic acid (PFOS) | No | 05/2025 | 4.8 | ng/L | N/A | MCL 10 |  |
| Unregulated Perfluoroalkyl Substances Detected in 2025 (or most recent test) |  |  |  |  |  |  |  |
| Perfluorobutanoic Acid (PFBS) | No | 05/2025 | 2.9 | ng/L | 2000 | MCL 50000 Note 3 | Released into the environment from widespread use in commercial and industrial applications. |

Note 1:	The 90th percentile means the average of the highest 2 of the 5 samples tested.  This means that 90% of the sample results were lower than the result shown in the table. Action levels for Lead and Copper were not exceeded in any samples.

Lead can cause serious health effects in people of all ages, especially pregnant people, infants (both formula-fed and breastfed), and young children. Lead in drinking water is primarily from materials and parts used in service lines and in home plumbing. Holly Park Terrace is responsible for providing high quality drinking water and removing lead pipes but cannot control the variety of materials used in the plumbing in your home. Because lead levels may vary over time, lead exposure is possible even when your tap sampling results do not detect lead at one point in time. You can help protect yourself and your family by identifying and removing lead materials within your home plumbing and taking steps to reduce your family's risk. Using a filter, certified by an American National Standards Institute accredited certifier to reduce lead, is effective in reducing lead exposures. Follow the instructions provided with the filter to ensure the filter is used properly. Use only cold water for drinking, cooking, and making baby formula. Boiling water does not remove lead from water. Before using tap water for drinking, cooking, or making baby formula, flush your pipes for several minutes. You can do this by running your tap, taking a shower, doing laundry or a load of dishes. If you have a lead service line or galvanized requiring replacement service line, you may need to flush your pipes for a longer period. If you are concerned about lead in your water and wish to have your water tested, contact Bob Nocchi. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available at https://www.epa.gov/safewater/lead.

Note 2:	Water containing more than 20 mg/l of sodium should not be used for drinking by people on severely restricted sodium    diets. Water containing more than 270 mg/l of sodium should not be used for drinking by people on moderately restricted sodium diets.

Note 3:	USEPA Health Advisory Levels identify the concentration of a contaminant in drinking water at which adverse health effects and/or aesthetic effects are not anticipated to occur over specific exposure durations. Health Advisory Levels are not to be construed as legally enforceable federal standards and are subject to change as new information becomes available.

All perfluoroalkyl substances, besides PFOA and PFOS, are considered Unspecified Organic Contaminants (UOC) which have an MCL = 0.05 mg/L = 50,000 ng/L.

WHAT DOES THIS INFORMATION MEAN?

As reported by the table, our system had no violations. Extensive testing revealed the contaminants were detected below the level allowed by the State.

IS OUR SYSTEM MEETING OTHER RULES THAT GOVERN OPERATIONS?

Our system complied with all applicable State drinking water operating, monitoring and reporting requirements in 2025.

DO I NEED TO TAKE SPECIAL PRECAUTIONS?

Although our drinking water met or exceeded state and federal regulations, some people may be more vulnerable to disease causing microorganisms or pathogens in drinking water than the general population.  Immunocompromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections.  These people should seek advice from their health care provider about their drinking water.  EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium, Giardia and other microbial pathogens are available from the Safe Drinking Water Hotline (800-426-4791).

You play a vital role in conserving water by consciously reducing your water consumption. Conservation tips include:

- Load appliances to capacity.

- Turn off tap while brushing your teeth.

- Check faucets in your home for leaks.  Slow drips can waste 15 to 20 gallons a day. That is over 6,000 gallons a year!

- Use a few drops of food coloring to check toilets for leaks, these can consume up to 100 gallons of water each day.

- Discover more ways to conserve our water resources by visiting: https://www.epa.gov/watersense.

Producing adequate amounts of water to meet present and future demands relies on water conservation:

- Saving water reduces the cost of energy required to pump water and the need to construct costly new wells, pumping systems and water towers.

- Saving water lessens strain on the water system during dry spells or drought, which may avoid severe water use restrictions for essential firefighting services.

- In 2025, about 80% of NYS experienced abnormally dry or drought conditions. Chemung County was listed under a “Drought Warning” by Fall 2025.

WHY SAVE WATER AND HOW TO AVOID WASTE

CLOSING

Thank you for allowing us to continue to provide your family with quality drinking water this year. To maintain a safe and dependable water supply we sometimes need to make improvements that will benefit all our customers. We ask that all our customers help us protect our water sources, which are the heart of our community, our way of life and our children’s future.

Sincerely,

Bob Nocchi

Water Operator