BIDDER RESPONSE FORMS

ENERGY EXPRESS PROJECT

Appendix C and Appendices E through I

| Solicitation | 7SPC RFP 2026 09 01 |
| --- | --- |
| Procurement | Battery Energy Storage Equipment and 20-Year LTSA |
| Release | September 1, 2026 |
| Proposal due | October 30, 2026 at 11:59 PM Eastern Time |
| Submit | EEP-BESS-RFP@7SPC.com |
| Bidder | [Enter legal Bidder name] |

IMPORTANT: Category A requires a compliant base proposal for all 18 sites. No BABAA or RUS Buy American waiver dependent solution is eligible. Category B is nonbinding market information and is not scored.

Completion rule: Enter each fact once. Reference attachments by exact filename and page. If a requirement is not met, disclose it only in Appendix I in addition to any requested explanation.

# Appendix C. Compliance Certifications

Submit signed forms with the proposal. Detailed confidential cost evidence is deferred as stated in the RFP.

## C.1 Authorized Bidder and Compliance Attestation

| Field | Response |
| --- | --- |
| Bidder’s full legal name |  |
| Contracting entity type and state of formation |  |
| Ultimate parent and country |  |
| Authorized representative and title |  |
| Email and telephone |  |

- Confirm: We reviewed all compliance requirements and confirm that the proposed Category A equipment is designed to comply without a BABAA or RUS waiver.

- Confirm: We are not aware of a supply chain, ownership, control, licensing, remote access, or manufacturing condition that would prevent compliance.

- Confirm: We have disclosed all information known at proposal submission concerning Executive Order 14420, foreign-produced covered equipment and critical components, Covered Foreign Entity involvement, remote-access and lifecycle-service dependencies, and any reliance on a license, exemption, prequalification, or mitigation approval.

- Confirm: We will provide the full evidence package within 45 calendar days after conditional selection and before contract execution, purchase order, notice to proceed, long-lead authorization, release to manufacture, or deposit.

- Confirm: We accept continuing substitution, record retention, replacement, reimbursement, and security obligations stated in the RFP.

- Confirm: We will provide the applicable RUS Form 213 or then current USDA certification for every covered product after conditional selection and before contract execution or payment.

| Signature field | Response |
| --- | --- |
| Authorized signature |  |
| Printed name and title |  |
| Date |  |

## C.2 Preliminary Supply Chain Confidence

| Disclosure | Bidder response / attachment reference |
| --- | --- |
| Battery cell manufacturer, parent, and country |  |
| Battery module manufacturer, parent, and country |  |
| Cathode active material source and country |  |
| PCS manufacturer, parent, and final assembly location |  |
| MV transformer and switchgear manufacturers and countries |  |
| BMS, EMS, and remote support entities and countries |  |
| Proposed calculation method: actual cost or safe harbor |  |
| Preliminary domestic content conclusion and margin |  |
| Preliminary material assistance conclusion and margin |  |
| Known PFE, FEOC, ownership, control, licensing, or remote access risks |  |
| Evidence availability and confidentiality needs |  |
| Material software and firmware developers and parent entities |  |
| Countries of original software and firmware development |  |
| Countries of ongoing maintenance, patching, and remote support |  |
| Licensing, data access, service, and operational control rights |  |
| Executive Order 14420 foreign-produced equipment, critical components, and Covered Foreign Entity involvement |  |
| Any license, exemption, prequalification, or mitigation reliance and available compliant alternate source |  |

## C.3 Federal Responsibility and Conflicts

| Certification | Confirm / explain in Appendix I |
| --- | --- |
| No covered entity or principal is suspended, debarred, or proposed for debarment |  |
| Lobbying certification and SF LLL, if applicable |  |
| Proposal pricing was developed independently and without collusion |  |
| All actual, potential, and apparent conflicts are disclosed |  |
| Signer has authority to bind the Bidder |  |
| Proposal information is accurate and material changes will be disclosed |  |
| SAM registration and UEI status, if required by USDA or counsel |  |

## C.4 Good Faith Participation Plan

Describe outreach and subcontracting practices for small, minority, women-owned, veteran-owned, and labor surplus area businesses. This plan is mandatory and unscored.

| Topic | Response |
| --- | --- |
| Solicitation and outreach methods |  |
| Potential subcontract opportunities |  |
| Organizations or directories used |  |
| Flow-down and reporting method |  |

# Appendix E. Technical Response

Complete for the compliant Category A base proposal. Attach major cutsheets and the required 8 MW and 20 MW layouts.

## E.1 Product and Architecture

| Item | Response |
| --- | --- |
| Product and model |  |
| Battery chemistry |  |
| Cell and module |  |
| PCS and inverter |  |
| BMS and EMS |  |
| Integrated MV transformer and switchgear |  |
| System architecture and unit count |  |
| Proposed low-side voltage |  |
| Manufacturing locations |  |

## E.2 Net Performance at Transformer High-Side

| Parameter | Guaranteed value | Conditions / attachment |
| --- | --- | --- |
| Guaranteed COD AC power at transformer high-side |  |  |
| Guaranteed COD usable energy at transformer high-side |  |  |
| AC-to-AC round trip efficiency |  |  |
| Auxiliary load |  |  |
| Transformer loss |  |  |
| Gross DC capacity |  |  |
| DC to AC ratio |  |  |
| Year 20 net usable energy |  |  |
| Availability |  |  |
| COD acceptance test protocol reference |  |  |

## E.3 Degradation Schedule

| Year | Usable capacity, % BOL | Assumptions / notes |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |
| 6 |  |  |
| 7 |  |  |
| 8 |  |  |
| 9 |  |  |
| 10 |  |  |
| 11 |  |  |
| 12 |  |  |
| 13 |  |  |
| 14 |  |  |
| 15 |  |  |
| 16 |  |  |
| 17 |  |  |
| 18 |  |  |
| 19 |  |  |
| 20 |  |  |

## E.4 Reference Configurations

| Item | 8 MW / 32 MWh | 20 MW / 80 MWh |
| --- | --- | --- |
| Battery units |  |  |
| PCS units |  |  |
| MV transformers |  |  |
| Switchgear lineups |  |  |
| Footprint dimensions |  |  |
| Estimated square footage |  |  |
| Weight |  |  |
| Road access width |  |  |
| Fire and maintenance clearances |  |  |
| Foundation reactions available |  |  |
| Net rating confirmed |  |  |

## E.5 Safety and Certifications

| Standard / deliverable | Status | Body and date | Attachment |
| --- | --- | --- | --- |
| UL 9540 |  |  |  |
| UL 9540A report |  |  |  |
| UL 1741 |  |  |  |
| IEEE 1547 and 1547.1 |  |  |  |
| NFPA 855 code matrix |  |  |  |
| Hazard mitigation analysis |  |  |  |
| Emergency response plan |  |  |  |

## E.6 Grid Support and Models

| Capability | Supported | Limits / evidence |
| --- | --- | --- |
| Reactive power |  |  |
| Fixed power factor |  |  |
| Volt VAR |  |  |
| Volt Watt |  |  |
| Frequency Watt |  |  |
| Voltage ride through |  |  |
| Frequency ride through |  |  |
| Ramp rates |  |  |
| Remote P and Q command |  |  |
| Anti-islanding |  |  |
| IEEE 519 harmonic compliance |  |  |
| Dynamic model |  |  |
| Short circuit model |  |  |
| Harmonic model |  |  |
| Preferred grid-forming add-on and Pricing Workbook reference |  |  |

## E.7 Controls, Data, and Cybersecurity

| Requirement | Response / evidence |
| --- | --- |
| DNP3 |  |
| Modbus TCP |  |
| Local operation without cloud |  |
| Local HMI functions |  |
| Data buffering and synchronization |  |
| 20-year retention architecture |  |
| Unrestricted data export |  |
| NIST CSF 2.0 alignment |  |
| NIST SP 800-82 Rev. 3 alignment |  |
| SBOM |  |
| MFA and remote access |  |
| Secure updates and rollback |  |
| Vulnerability and incident response |  |
| Hosting and data residency |  |
| IEC 62443 alignment |  |

## E.8 Environmental and Acoustic Performance

| Item | 45 dBA property line reference response / attachment |
| --- | --- |
| Sound power by equipment |  |
| Tonal content |  |
| HVAC modes |  |
| Transformer noise |  |
| Modeling assumptions |  |
| Mitigation included |  |
| Exceptions |  |
| Operating and storage temperature range |  |
| Temperature-based power and energy derating curve |  |
| Humidity and altitude limits |  |
| Enclosure and ingress protection rating |  |
| Seismic rating |  |
| Wind rating |  |
| Sound pressure rating, distance, and operating condition |  |

## E.9 Delivery, FAT, Commissioning, and Training

| Item | Response |
| --- | --- |
| Maximum sites per month |  |
| Minimum site spacing |  |
| Manufacturing capacity reservation |  |
| Long lead items |  |
| April to December 2028 capability |  |
| Maximum three-month shift price impact |  |
| FAT procedure and witness rights |  |
| Failed FAT correction and retest |  |
| Commissioning staffing and included days |  |
| Additional support rates |  |
| Operator training |  |
| Maintenance and troubleshooting training |  |
| Safety and first responder training |  |
| Cyber and administrator training |  |
| Training materials and refresher |  |
| Quality management certifications |  |
| Equipment serial number traceability |  |
| Cell and module batch traceability |  |
| Sample FAT and SAT procedure references |  |
| Nonconformance and corrective action process |  |
| Field safety notice and recall process |  |
| Seven States manufacturing and quality audit right |  |
| Commercial operation of all sites no later than two years after the initial purchase order |  |

# Appendix F. Warranty and LTSA Response

Provide the proposed 20-year coverage and include the Bidder's negotiable draft LTSA and mandatory term compliance matrix in the searchable, signed proposal PDF.

## F.1 Obligors and Backing

Following award, a Selectee that does not independently demonstrate financial strength sufficient to support its 20-year warranty, replacement, and LTSA obligations may be required to provide an acceptable guaranty from its financially qualified ultimate parent. At Seven States' sole discretion, an irrevocable standby letter of credit, surety bond, or other credit support may be accepted in lieu of or in combination with the parent guaranty. Any alternative security must be in a form, amount, duration, and priority acceptable to Seven States, include satisfactory renewal, replacement, and draw or claim provisions, and must not limit the Selectee's underlying obligations or liability unless expressly stated in the executed Agreement.

| Item | Response / attachment |
| --- | --- |
| Warranty obligor |  |
| LTSA obligor |  |
| Ultimate parent |  |
| 20-year warranty confirmation subject only to RFP-permitted exclusions |  |
| Proposed ultimate-parent guaranty, if required |  |
| Credit rating |  |
| Audited financial evidence |  |
| Proposed alternative or supplemental credit support, including instrument, issuer, amount, term, renewal or replacement provisions, draw or claim conditions, and cost |  |
| Confirm that proposed guaranty or alternative security does not limit underlying obligations or liability |  |
| Assignment and continuity rights |  |
| Financial support for 20-year warranty, replacement, and LTSA obligations |  |
| Acceptance of 10 percent tax-compliance bond or standby letter of credit as supplemental security |  |
| Tax-compliance security term and proposed issuer |  |

## F.2 Coverage Matrix

| Equipment / service | 20-year coverage | Exclusions | Remedy |
| --- | --- | --- | --- |
| Battery cells |  |  |  |
| PCS and inverter |  |  |  |
| BMS and EMS |  |  |  |
| HVAC |  |  |  |
| Fire and gas safety |  |  |  |
| MV transformer |  |  |  |
| MV switchgear and relays |  |  |  |
| Controls and communications |  |  |  |
| Software and cloud |  |  |  |
| Labor, travel, freight, removal, installation, testing |  |  |  |

## F.3 Service Commitments

| Severity | Remote response | Onsite response | Mitigation | Permanent repair |
| --- | --- | --- | --- | --- |
| Critical | 1 hour | 48 hours |  |  |
| Major |  |  |  |  |
| Minor |  |  |  |  |

## F.4 LTSA Scope and Price Terms

| Requirement | Included / proposed term |
| --- | --- |
| Preventive maintenance |  |
| Corrective maintenance |  |
| 24-hour monitoring |  |
| Parts and consumables |  |
| Software and cybersecurity |  |
| Compliance preserving replacements |  |
| Prevailing wage field labor |  |
| Years 1 to 5 fixed price |  |
| Years 6 to 20 capped CPI rule |  |
| Annual reporting |  |
| Site-specific COD start |  |
| 20-year term |  |
| Peak Event Capacity Payment Credit administration and payment |  |
| Termination and transition support |  |
| 97 percent annual availability formula |  |
| Proportional treatment of partial derates |  |
| Planned maintenance outside peak windows and capped at 120 hours per site per year |  |

## F.5 Peak Event Capacity Payment Credit

| Requirement | Bidder response | Draft LTSA section | Exception / price effect |
| --- | --- | --- | --- |
| Full failure credit equals 100 percent of affected site monthly capacity payment |  |  |  |
| Partial credit uses greater of power or energy shortfall percentage |  |  |  |
| Meter, dispatch log, and BESS telemetry verification |  |  |  |
| Selectee responsibility after award regardless of subcontractor cause |  |  |  |
| Annual site cap equals 100 percent of annual capacity payments |  |  |  |
| No duplicate ordinary availability damages for the same event |  |  |  |
| Two failures in rolling 24 months or three during warranty term is chronic failure |  |  |  |
| Use of the current $10.00/kW-month estimate for proposal risk pricing; acknowledgement that the binding capacity payment may change through COD |  |  |  |
| All acceptance costs included in LTSA price |  |  |  |

## F.6 Spares, Obsolescence, Recycling, and Decommissioning

| Item | Response / price reference |
| --- | --- |
| Owner owned non-degrading spares |  |
| Recommended storage by territory |  |
| Access to degrading spares |  |
| 18-month discontinuation notice |  |
| 12-month last time buy |  |
| Compliance preserving obsolete replacements |  |
| Recycling plan and pricing |  |
| Informational decommissioning estimate |  |

# Appendix G. Bidder Qualifications

Provide concise responses and three references where available.

| Corporate item | Response |
| --- | --- |
| Legal entity |  |
| Role: OEM or integrator |  |
| Parent and ultimate parent |  |
| Ownership countries |  |
| Year established |  |
| U.S. headquarters |  |
| U.S. manufacturing locations |  |
| U.S. service locations |  |
| Proposed service partner |  |
| Regional staffing and spares |  |
| Annual production |  |
| Total utility-scale BESS MW manufactured and delivered that is in commercial operation (minimum 200 MW) |  |
| Operating project of at least 20 MW, with project or reference identification |  |

## G.1 Operating References

| Item | Reference 1 | Reference 2 | Reference 3 |
| --- | --- | --- | --- |
| Project and location |  |  |  |
| Owner or utility |  |  |  |
| MW / MWh |  |  |  |
| Product |  |  |  |
| Bidder role |  |  |  |
| COD |  |  |  |
| Months operating |  |  |  |
| Reference name |  |  |  |
| Email and telephone |  |  |  |
| Relevant compliance experience |  |  |  |

# Appendix H. Financial Qualifications

Confidential financial attachments may be separated and clearly identified.

| Required information | Response / attachment |
| --- | --- |
| Three years audited consolidated financial statements |  |
| Current interim statements if latest audit exceeds six months |  |
| Auditor and going concern information |  |
| Credit ratings |  |
| Liquidity and working capital |  |
| Material debt and covenants |  |
| Material litigation or investigations |  |
| Insolvency or restructuring history |  |
| BESS defaults or terminations in past five years |  |
| Manufacturing and supply chain financing |  |
| Contracting entity organization chart |  |
| Guarantor financial statements or alternative security-provider evidence |  |
| Permission for adviser review |  |
| Narrative explaining funding, reserves, insurance, guarantees, and other financial support for 20-year obligations |  |

# Appendix I. Exceptions and Alternate Proposals

List every exception, qualification, assumption, or requested change. Embedded exceptions elsewhere are not recognized.

## I.1 RFP and Mandatory Requirements

| RFP section | Requirement | Exception or assumption | Proposed alternative | Commercial effect |
| --- | --- | --- | --- | --- |

## I.2 Draft Equipment Supply Agreement

| Agreement section | Requested change | Proposed language | Reason / effect |
| --- | --- | --- | --- |

## I.3 Draft LTSA Mandatory Term Matrix

| Mandatory term | Comply | Draft LTSA section | Exception |
| --- | --- | --- | --- |
| 20-year equipment warranty by site COD, subject only to RFP-permitted exclusions |  |  |  |
| 20-year LTSA by site COD |  |  |  |
| All equipment covered |  |  |  |
| Full failure costs |  |  |  |
| No owner-funded augmentation |  |  |  |
| Critical response commitments |  |  |  |
| Peak Event Capacity Payment Credit |  |  |  |
| Annual site credit cap |  |  |  |
| Chronic performance failure remedies |  |  |  |
| Prevailing wage pricing |  |  |  |
| Software and cloud included |  |  |  |
| Data ownership and export |  |  |  |
| Compliance preserving replacements |  |  |  |
| Years 1 to 5 fixed price |  |  |  |
| Years 6 to 20 capped CPI |  |  |  |
| Assignment and continuity |  |  |  |
| Tennessee law and courts |  |  |  |
| Availability formula and planned maintenance limit |  |  |  |
| COD high-side power and usable energy acceptance testing |  |  |  |
| Tax compliance security and uncapped reimbursement |  |  |  |
| Parent guaranty or Seven States-approved alternative credit support, if required |  |  |  |

## I.4 Alternate Category A Proposal

Complete only if a compliant base proposal is also submitted. Identify every technical, compliance, schedule, warranty, and commercial difference and provide separate pricing.

| Topic | Difference from compliant base | Evidence / price reference |
| --- | --- | --- |

## I.5 Certification

| Field | Response |
| --- | --- |
| Bidder name |  |
| Authorized representative |  |
| Signature |  |
| Date |  |