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BIDDER RESPONSE FORMS
ENERGY EXPRESS PROJECT

Appendix C and Appendices E through I

	Solicitation
	7SPC RFP 2026 09 01

	Procurement
	Battery Energy Storage Equipment and 20-Year LTSA

	Release
	September 1, 2026

	Proposal due
	October 30, 2026 at 11:59 PM Eastern Time

	Submit
	EEP-BESS-RFP@7SPC.com

	Bidder
	[Enter legal Bidder name]




	IMPORTANT:  Category A requires a compliant base proposal for all 18 sites. No BABAA or RUS Buy American waiver dependent solution is eligible. Category B is nonbinding market information and is not scored.



	COMPLETION RULE: Enter each fact once. Reference attachments by exact filename and page. If a requirement is not met, disclose it only in Appendix I in addition to any requested explanation.
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APPENDIX C. COMPLIANCE CERTIFICATIONS
Submit signed forms with the proposal. Detailed confidential cost evidence is deferred as stated in the RFP.
C.1 Authorized Bidder and Compliance Attestation
	Field
	Response

	Bidder’s full legal name
	

	Contracting entity type and state of formation
	

	Ultimate parent and country
	

	Authorized representative and title
	

	Email and telephone
	



· Confirm: We reviewed all compliance requirements and confirm that the proposed Category A equipment is designed to comply without a BABAA or RUS waiver.
· Confirm: We are not aware of a supply chain, ownership, control, licensing, remote access, or manufacturing condition that would prevent compliance.
· Confirm: We have disclosed all information known at proposal submission concerning Executive Order 14420, foreign-produced covered equipment and critical components, Covered Foreign Entity involvement, remote-access and lifecycle-service dependencies, and any reliance on a license, exemption, prequalification, or mitigation approval.
· Confirm: We will provide the full evidence package within 45 calendar days after conditional selection and before contract execution, purchase order, notice to proceed, long-lead authorization, release to manufacture, or deposit.
· Confirm: We accept continuing substitution, record retention, replacement, reimbursement, and security obligations stated in the RFP.
· Confirm: We will provide the applicable RUS Form 213 or then current USDA certification for every covered product after conditional selection and before contract execution or payment.
	Signature field
	Response

	Authorized signature
	

	Printed name and title
	

	Date
	



C.2 Preliminary Supply Chain Confidence
	Disclosure
	Bidder response / attachment reference

	Battery cell manufacturer, parent, and country
	

	Battery module manufacturer, parent, and country
	

	Cathode active material source and country
	

	PCS manufacturer, parent, and final assembly location
	

	MV transformer and switchgear manufacturers and countries
	

	BMS, EMS, and remote support entities and countries
	

	Proposed calculation method: actual cost or safe harbor
	

	Preliminary domestic content conclusion and margin
	

	Preliminary material assistance conclusion and margin
	

	Known PFE, FEOC, ownership, control, licensing, or remote access risks
	

	Evidence availability and confidentiality needs
	

	Material software and firmware developers and parent entities
	

	Countries of original software and firmware development
	

	Countries of ongoing maintenance, patching, and remote support
	

	Licensing, data access, service, and operational control rights
	

	Executive Order 14420 foreign-produced equipment, critical components, and Covered Foreign Entity involvement
	

	Any license, exemption, prequalification, or mitigation reliance and available compliant alternate source
	



C.3 Federal Responsibility and Conflicts
	Certification
	Confirm / explain in Appendix I

	No covered entity or principal is suspended, debarred, or proposed for debarment
	

	Lobbying certification and SF LLL, if applicable
	

	Proposal pricing was developed independently and without collusion
	

	All actual, potential, and apparent conflicts are disclosed
	

	Signer has authority to bind the Bidder
	

	Proposal information is accurate and material changes will be disclosed
	

	SAM registration and UEI status, if required by USDA or counsel
	



C.4 Good Faith Participation Plan
Describe outreach and subcontracting practices for small, minority, women-owned, veteran-owned, and labor surplus area businesses. This plan is mandatory and unscored.
	Topic
	Response

	Solicitation and outreach methods
	

	Potential subcontract opportunities
	

	Organizations or directories used
	

	Flow-down and reporting method
	





APPENDIX E. TECHNICAL RESPONSE
Complete for the compliant Category A base proposal. Attach major cutsheets and the required 8 MW and 20 MW layouts.
E.1 Product and Architecture
	Item
	Response

	Product and model
	

	Battery chemistry
	

	Cell and module
	

	PCS and inverter
	

	BMS and EMS
	

	Integrated MV transformer and switchgear
	

	System architecture and unit count
	

	Proposed low-side voltage
	

	Manufacturing locations
	



E.2 Net Performance at Transformer High-Side
	Parameter
	Guaranteed value
	Conditions / attachment

	Guaranteed COD AC power at transformer high-side
	
	

	Guaranteed COD usable energy at transformer high-side
	
	

	AC-to-AC round trip efficiency
	
	

	Auxiliary load
	
	

	Transformer loss
	
	

	Gross DC capacity
	
	

	DC to AC ratio
	
	

	Year 20 net usable energy
	
	

	Availability
	
	

	COD acceptance test protocol reference
	
	



E.3 Degradation Schedule
	Year
	Usable capacity, % BOL
	Assumptions / notes

	1
	
	

	2
	
	

	3
	
	

	4
	
	

	5
	
	

	6
	
	

	7
	
	

	8
	
	

	9
	
	

	10
	
	

	11
	
	

	12
	
	

	13
	
	

	14
	
	

	15
	
	

	16
	
	

	17
	
	

	18
	
	

	19
	
	

	20
	
	



E.4 Reference Configurations
	Item
	8 MW / 32 MWh
	20 MW / 80 MWh

	Battery units
	
	

	PCS units
	
	

	MV transformers
	
	

	Switchgear lineups
	
	

	Footprint dimensions
	
	

	Estimated square footage
	
	

	Weight
	
	

	Road access width
	
	

	Fire and maintenance clearances
	
	

	Foundation reactions available
	
	

	Net rating confirmed
	
	



E.5 Safety and Certifications
	Standard / deliverable
	Status
	Body and date
	Attachment

	UL 9540
	
	
	

	UL 9540A report
	
	
	

	UL 1741
	
	
	

	IEEE 1547 and 1547.1
	
	
	

	NFPA 855 code matrix
	
	
	

	Hazard mitigation analysis
	
	
	

	Emergency response plan
	
	
	





E.6 Grid Support and Models
	Capability
	Supported
	Limits / evidence

	Reactive power
	
	

	Fixed power factor
	
	

	Volt VAR
	
	

	Volt Watt
	
	

	Frequency Watt
	
	

	Voltage ride through
	
	

	Frequency ride through
	
	

	Ramp rates
	
	

	Remote P and Q command
	
	

	Anti-islanding
	
	

	IEEE 519 harmonic compliance
	
	

	Dynamic model
	
	

	Short circuit model
	
	

	Harmonic model
	
	

	Preferred grid-forming add-on and Pricing Workbook reference
	
	



E.7 Controls, Data, and Cybersecurity
	Requirement
	Response / evidence

	DNP3
	

	Modbus TCP
	

	Local operation without cloud
	

	Local HMI functions
	

	Data buffering and synchronization
	

	20-year retention architecture
	

	Unrestricted data export
	

	NIST CSF 2.0 alignment
	

	NIST SP 800-82 Rev. 3 alignment
	

	SBOM
	

	MFA and remote access
	

	Secure updates and rollback
	

	Vulnerability and incident response
	

	Hosting and data residency
	

	IEC 62443 alignment
	



E.8 Environmental and Acoustic Performance
	Item
	45 dBA property line reference response / attachment

	Sound power by equipment
	

	Tonal content
	

	HVAC modes
	

	Transformer noise
	

	Modeling assumptions
	

	Mitigation included
	

	Exceptions
	

	Operating and storage temperature range
	

	Temperature-based power and energy derating curve
	

	Humidity and altitude limits
	

	Enclosure and ingress protection rating
	

	Seismic rating
	

	Wind rating
	

	Sound pressure rating, distance, and operating condition
	



E.9 Delivery, FAT, Commissioning, and Training
	Item
	Response

	Maximum sites per month
	

	Minimum site spacing
	

	Manufacturing capacity reservation
	

	Long lead items
	

	April to December 2028 capability
	

	Maximum three-month shift price impact
	

	FAT procedure and witness rights
	

	Failed FAT correction and retest
	

	Commissioning staffing and included days
	

	Additional support rates
	

	Operator training
	

	Maintenance and troubleshooting training
	

	Safety and first responder training
	

	Cyber and administrator training
	

	Training materials and refresher
	

	Quality management certifications
	

	Equipment serial number traceability
	

	Cell and module batch traceability
	

	Sample FAT and SAT procedure references
	

	Nonconformance and corrective action process
	

	Field safety notice and recall process
	

	Seven States manufacturing and quality audit right
	

	Commercial operation of all sites no later than two years after the initial purchase order
	


APPENDIX F. WARRANTY AND LTSA RESPONSE
Provide the proposed 20-year coverage and include the Bidder's negotiable draft LTSA and mandatory term compliance matrix in the searchable, signed proposal PDF.
F.1 Obligors and Backing
Following award, a Selectee that does not independently demonstrate financial strength sufficient to support its 20-year warranty, replacement, and LTSA obligations may be required to provide an acceptable guaranty from its financially qualified ultimate parent. At Seven States' sole discretion, an irrevocable standby letter of credit, surety bond, or other credit support may be accepted in lieu of or in combination with the parent guaranty. Any alternative security must be in a form, amount, duration, and priority acceptable to Seven States, include satisfactory renewal, replacement, and draw or claim provisions, and must not limit the Selectee's underlying obligations or liability unless expressly stated in the executed Agreement.
	Item
	Response / attachment

	Warranty obligor
	

	LTSA obligor
	

	Ultimate parent
	

	20-year warranty confirmation subject only to RFP-permitted exclusions
	

	Proposed ultimate-parent guaranty, if required
	

	Credit rating
	

	Audited financial evidence
	

	Proposed alternative or supplemental credit support, including instrument, issuer, amount, term, renewal or replacement provisions, draw or claim conditions, and cost
	

	Confirm that proposed guaranty or alternative security does not limit underlying obligations or liability
	

	Assignment and continuity rights
	

	Financial support for 20-year warranty, replacement, and LTSA obligations
	

	Acceptance of 10 percent tax-compliance bond or standby letter of credit as supplemental security
	

	Tax-compliance security term and proposed issuer
	



F.2 Coverage Matrix
	Equipment / service
	20-year coverage
	Exclusions
	Remedy

	Battery cells
	
	
	

	PCS and inverter
	
	
	

	BMS and EMS
	
	
	

	HVAC
	
	
	

	Fire and gas safety
	
	
	

	MV transformer
	
	
	

	MV switchgear and relays
	
	
	

	Controls and communications
	
	
	

	Software and cloud
	
	
	

	Labor, travel, freight, removal, installation, testing
	
	
	



F.3 Service Commitments
	Severity
	Remote response
	Onsite response
	Mitigation
	Permanent repair

	Critical
	1 hour
	48 hours
	
	

	Major
	
	
	
	

	Minor
	
	
	
	



F.4 LTSA Scope and Price Terms
	Requirement
	Included / proposed term

	Preventive maintenance
	

	Corrective maintenance
	

	24-hour monitoring
	

	Parts and consumables
	

	Software and cybersecurity
	

	Compliance preserving replacements
	

	Prevailing wage field labor
	

	Years 1 to 5 fixed price
	

	Years 6 to 20 capped CPI rule
	

	Annual reporting
	

	Site-specific COD start
	

	20-year term
	

	Peak Event Capacity Payment Credit administration and payment
	

	Termination and transition support
	

	97 percent annual availability formula
	

	Proportional treatment of partial derates
	

	Planned maintenance outside peak windows and capped at 120 hours per site per year
	



F.5 Peak Event Capacity Payment Credit
	Requirement
	Bidder response
	Draft LTSA section
	Exception / price effect

	Full failure credit equals 100 percent of affected site monthly capacity payment
	
	
	

	Partial credit uses greater of power or energy shortfall percentage
	
	
	

	Meter, dispatch log, and BESS telemetry verification
	
	
	

	Selectee responsibility after award regardless of subcontractor cause
	
	
	

	Annual site cap equals 100 percent of annual capacity payments
	
	
	

	No duplicate ordinary availability damages for the same event
	
	
	

	Two failures in rolling 24 months or three during warranty term is chronic failure
	
	
	

	Use of the current $10.00/kW-month estimate for proposal risk pricing; acknowledgement that the binding capacity payment may change through COD
	
	
	

	All acceptance costs included in LTSA price
	
	
	



F.6 Spares, Obsolescence, Recycling, and Decommissioning
	Item
	Response / price reference

	Owner owned non-degrading spares
	

	Recommended storage by territory
	

	Access to degrading spares
	

	18-month discontinuation notice
	

	12-month last time buy
	

	Compliance preserving obsolete replacements
	

	Recycling plan and pricing
	

	Informational decommissioning estimate
	





APPENDIX G. BIDDER QUALIFICATIONS
Provide concise responses and three references where available.
	Corporate item
	Response

	Legal entity
	

	Role: OEM or integrator
	

	Parent and ultimate parent
	

	Ownership countries
	

	Year established
	

	U.S. headquarters
	

	U.S. manufacturing locations
	

	U.S. service locations
	

	Proposed service partner
	

	Regional staffing and spares
	

	Annual production
	

	Total utility-scale BESS MW manufactured and delivered that is in commercial operation (minimum 200 MW)
	

	Operating project of at least 20 MW, with project or reference identification
	



G.1 Operating References
	Item
	Reference 1
	Reference 2
	Reference 3

	Project and location
	
	
	

	Owner or utility
	
	
	

	MW / MWh
	
	
	

	Product
	
	
	

	Bidder role
	
	
	

	COD
	
	
	

	Months operating
	
	
	

	Reference name
	
	
	

	Email and telephone
	
	
	

	Relevant compliance experience
	
	
	



APPENDIX H. FINANCIAL QUALIFICATIONS
Confidential financial attachments may be separated and clearly identified.
	Required information
	Response / attachment

	Three years audited consolidated financial statements
	

	Current interim statements if latest audit exceeds six months
	

	Auditor and going concern information
	

	Credit ratings
	

	Liquidity and working capital
	

	Material debt and covenants
	

	Material litigation or investigations
	

	Insolvency or restructuring history
	

	BESS defaults or terminations in past five years
	

	Manufacturing and supply chain financing
	

	Contracting entity organization chart
	

	Guarantor financial statements or alternative security-provider evidence
	

	Permission for adviser review
	

	Narrative explaining funding, reserves, insurance, guarantees, and other financial support for 20-year obligations
	





APPENDIX I. EXCEPTIONS AND ALTERNATE PROPOSALS
List every exception, qualification, assumption, or requested change. Embedded exceptions elsewhere are not recognized.
I.1 RFP and Mandatory Requirements
	RFP section
	Requirement
	Exception or assumption
	Proposed alternative
	Commercial effect

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	



I.2 Draft Equipment Supply Agreement
	Agreement section
	Requested change
	Proposed language
	Reason / effect

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


I.3 Draft LTSA Mandatory Term Matrix
	Mandatory term
	Comply
	Draft LTSA section
	Exception

	20-year equipment warranty by site COD, subject only to RFP-permitted exclusions
	
	
	

	20-year LTSA by site COD
	
	
	

	All equipment covered
	
	
	

	Full failure costs
	
	
	

	No owner-funded augmentation
	
	
	

	Critical response commitments
	
	
	

	Peak Event Capacity Payment Credit
	
	
	

	Annual site credit cap
	
	
	

	Chronic performance failure remedies
	
	
	

	Prevailing wage pricing
	
	
	

	Software and cloud included
	
	
	

	Data ownership and export
	
	
	

	Compliance preserving replacements
	
	
	

	Years 1 to 5 fixed price
	
	
	

	Years 6 to 20 capped CPI
	
	
	

	Assignment and continuity
	
	
	

	Tennessee law and courts
	
	
	

	Availability formula and planned maintenance limit
	
	
	

	COD high-side power and usable energy acceptance testing
	
	
	

	Tax compliance security and uncapped reimbursement
	
	
	

	Parent guaranty or Seven States-approved alternative credit support, if required
	
	
	




I.4 Alternate Category A Proposal
Complete only if a compliant base proposal is also submitted. Identify every technical, compliance, schedule, warranty, and commercial difference and provide separate pricing.
	Topic
	Difference from compliant base
	Evidence / price reference

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	



I.5 Certification
	Field
	Response

	Bidder name
	

	Authorized representative
	

	Signature
	

	Date
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