Model:   U100 DRIVEBAY Summary

| BUILDING DIMENSIONS Width: 24' - 0" Length: 30' - 0" Height (Eave): 10' - 0" Height (Apex): 13' - 0" Area: 720.00 sqft BUILDING OPTIONS Roof: R-PANEL-PB KYNAR PAINTED 26 GA X 39 1/8 26G painted Wall: R-PANEL-PB KYNAR PAINTED 26 GA X 39 1/8 26G painted FRAME OUT DETAILS (1) One - 10'x8' framed opening for Roll Up Door (1) One - 3' - 4"x7' - 2" framed opening for Personnel Door FOUNDATION Type: 4" Slab Sidewall Footing: : 1' - 0" - 1' - 0" Endwall Footing: : 1' - 0" - 1' - 0" BUILDING CODE/LOAD Code: 2021 IBC Occupancy: II Snow: 5 psf ground snow load Wind: 105 mph - Exposure ‘C’ Soil Bearing: 1500 psf Heating: Unheated Extra Roof Dead Load: 5 psf Extra Wall Dead Load: N/A |  |
| --- | --- |

FLOOR PLAN

ELEVATIONS

| FRONT | REAR |
| --- | --- |
| LEFT | RIGHT |