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Description automatically generated]Regular Council Meeting
Monday, August 3, 2026
Location: Village of Perrinton Office



President Janell Dunham called the meeting to order at 6:57 p.m.

ROLL CALL
Council Present: Jason Blemaster, Cathy Feighner, Jerilou Gallagher, Keith Kaminski, & Rick Wilson
Also Present: Janell Dunham, Julie Henry & John Ney 
Visitors: Steve Sopcy

PUBLIC COMMENT
Steve was just here to represent the county.  No report currently.

MONTHLY APPROVALS
Motion by Rick Wilson, seconded by Keith Kaminski , to accept the July 13, 2026, meeting minutes.  Motion carried by voice vote, 5 YEAS, 0 NAYS.
Motion by Rick, seconded by Keith Kaminski, to accept the Special Meeting minutes.  Motion carried by voice vote, 5 YEAS, 
0  NAYS
Motion by Jason Blemaster, seconded by Cathy Feighner, to accept the agenda as presented.  Motion carried by voice vote, 5 YEAS, 0 NAYS.
Motion by Jason Blemaster, seconded by Jerilou Gallagher, to accept the transaction reports.  Motion carried by voice vote, 5 YEAS, 0 NAYS.
Motion by Rick Wilson, seconded by Cathy Feighner, to pay the current bills.  Motion carried by voice vote, 6 YEAS, 0 NAYS.

DPW Report – JULY 26

° WATER
-Water meters installed to date – 143 -Meters remaining - 22
-Spicer reviewed data in person and will submit report to EGLE to complete the WRS.

° WASTEWATER
-Discharge (NO DISCHARGE IN JUNE, JULY, AUG, or SEPT) MAY DMR submitted- 6/18/26
-Lagoon fencing needs repairs. We have made some repairs; more work is needed. Some trees have been removed from creek and fence line.
-Hole in discharge pipe to creek confirmed, will be having contractors look at repair/cost
-NuSystems (Clearbrooke) – installed H2S/Odor reduction system both in Perrinton and Middleton started treatment 3/26/26 – currently monitoring H2S for effectiveness and making adjustments as H2S levels are still higher than safe levels. Investigations into H2S sources continue.
-Pump station #1(Lakeside) Generator OUT OF SERVICE -Rental portable in place – Manual start needed but connected
- Pump station #1(Lakeside) Generator ORDERED – Expected to be released 10/22/26 shipping to follow (Wendall’s Electric to quote install)
-Manhole search w/ Fulton Twp for 2 manholes directly after pumping station #1, assume buried very deep during road construction. Looking into hiring someone with ground penetrating radar to locate the 2 manholes and the connecting sections of forcemain
-Submitted damage and costs associated with storm to FEMA for the cleanup of S. Robinson St. area and utility damages and cost related to the wasterwater pumping station generator at station #1

° STREETS
- Parking lines restriped 7/17/26 -Added stripping in front of FD to discourage parking in front of the fire doors

° GENERAL
-Park Signs? Get cost/design
-DPW/Community Center generator/electrical panel upgrade- 7/28/26 generator installed(waiting on gas service), still waiting on panel update
-Toilet replacement (Blemasters) @ Community Center
° FD BUILDING

° EQUIPMENT
****Martin Electric Motor is correcting voltage output on the purchased portable generator. Will be returning wastewater rental as soon as the purchased unit is ready to be put in service.****

COMPTROLLER
Julie spoke to the council about moving forward with BS&A Cloud, as the .NET version will no longer provide support in the near future, and we have an opportunity to join efforts with other Gratiot County municipalities and receive a discount.  August 2027 is our go-live target.   Motion carried by voice vote 5 YEAS, 0 NAYS.

She also asked if she could purchase a desktop scanner for invoices, checks & other documents.  Motion carried by voice vote, 5 YEAS, 0 NAYS.

OLD BUSINESS
Discussion about benefits, wages, etc. for a new DPW hire.    Also, we need to establish a handbook before then.  

John acknowledged and agreed to the amendment to their contract as presented.  However, the dates were incorrect, so all parties will officially sign it at the September 14, 2026 meeting.

NEW BUSINESS
Julie was notified that the FEMA & Disaster Relief Support group will close the center at our community center on August 4, 2026.

SPECIAL MEETING: August 17, 2026, at 7:00 p.m., Sewer Authority with Fulton Township at Fulton Township Hall.

ADJOURNMENT
Motion by Jason Blemaster, seconded by Keith Kaminski, to adjourn at 9:32 p.m.  Motion carried by voice vote. 6 YEAS, 0 NAYS.
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