Regular Council Meeting

Monday, February 2, 2026

Location: Village of Perrinton Office

President Janell Dunham called the meeting to order at 7:07 pm.

ROLL CALL

Council Present: Jason Blemaster, Cathy Feighner, Jerilou Gallagher, Keith Kaminski, Jim Mayer & Rick Wilson

Council Absent: None

Also Present: Janell Dunham, Julie Henry & John Ney

Visitors: Bob Baxter, Fulton Township Supervisor

PUBLIC COMMENT

Bob wanted to thank Janell for the letter she provided to the township in such a short period of time.

He also asked that everyone had seen the letter that the township's attorney had sent to the village.

He also informed the village that the Fulton Township board tabled the H2S/Odor Control Eliminator Program from Clearbrooke Technologies.

MONTHLY APPROVALS

Motion by Jim Mayer, seconded by Rick Wilson, to accept the January 5, 2026, meeting minutes.  Motion carried by voice vote, 6 YEAS, 0 NAYS.

Motion by Jason Blemaster, seconded by Keith Kaminski, to accept the agenda with the addition of the sewer ownership lawyer letter.  Motion carried by voice vote, 6 YEAS, 0 NAYS.

Motion by Rick Wilson, seconded by Jim Mayer, to accept the transaction report on file at the Village Office.  Motion carried by voice vote, 6 YEAS, 0 NAYS.

Motion by Cathy Feighner, seconded by Jerilou Gallagher, to pay the current bills.  Motion carried by voice vote, 6 YEAS, 0 NAYS.

DPW Report – January 2026

Water

-OCT Monthly Operating Report and sample results submitted – January 8, 2026, JAN26 bacteriological sample- January 13, 2026

-Water meters installed to date:  139

-Spicer Group requested additional usage data for WRS

WASTEWATER

-NO lagoon discharge JAN/FEB;  DMR submitted November 6, 2025; December 19, 2025; and January 19, 2026

-Cell #1 aerators operating as designed

-Lagoon fencing needs repairs; trees removed from creek and fence line.  Possible discharge pipe issue under investigation

-NuSystems (Clearbrooke) monitoring H2S gases to develop corrosion and odor reduction plan.  Perrinton approved proposed H2S plan; Fulton Township tabled until next meeting pending John’s attendance

-Lakeside Generator Shed roof repair proposal from Brian Kipp – Labor $500

STREETS

-McKearney to repaint parking lines when weather permits

GENERAL

-Steps to the truck garage replaced by Brian Kipp on the west side.

-Park signs?  Get cost/design

-Baseball dugout roofs (2) – Brian Kipp – Labor $800

-Pavilion roof behind ballfield – Brian Kipp – Labor $500

FD BUILDING

-missing siding 2nd story area (west side) Brian Kipp – Labor $250

EQUIPMENT

-Dump truck @ Merchant Excavating and Repair (Ithaca/Alma) for spring replacement and DOT Inspection

-F150 brake and gear shift electrical issues – currently in DPW shop

Motion by Jim Mayer, seconded by Keith Kaminski, to purchase the Hydrant Buddy and adapter(s) with the Water Fund to incur the expense.  Motion carried by voice vote, 6 YEAS 0 NAYS

Motioned by Jason Blemaster, seconded by Jim Mayer, to authorize Brian Kipp to complete all roof repairs, including the Lakeside Generator Shed roof.  Motion carried by voice vote, 6 YEAS  0 NAYS

COMPTROLLER

Motion by Jason Blemaster, seconded by Keith Kaminski, to approve the billing policy as discussed.  Motion carried by voice vote, 6 YEAS, 0 NAYS

OLD BUSINESS

Motion by Jason Blemaster, seconded by Jim Mayer, to approve the FY 2025-2026 budget amendments.  Motion carried by voice vote, 6 YEAS, 0 NAYS

NEW BUSINESS

Discussion was held regarding appointing a representative and alternate to Central Dispatch.  No volunteers were identified.  Meetings are held at 1:30 p.m. on the fourth Thursday of each month.

The matter of sewer system ownership (Pond #3) was tabled pending legal review.

ADJOURNMENT

Motion by Jason Blemaster, seconded by Keith Kaminski, to adjourn at 9:14 p.m.  Motion carried by voice vote.  6 YEAS, 0 NAYS.

Comptroller Signature:					President Signature:

____________________________________________		____________________________________________