Regular Council Meeting – Monday, July 7, 2025

Council Present: Jason Blemaster, Cathy Feighner, Jerilou Gallagher, Keith Kaminski, Jim Mayer & Rick Wilson

Also, Present:  Janell Dunham, Julie Henry & John Ney

Visitor: Richard Helms

President Janell Dunham called meeting to order 7:01 pm

Motioned by Rick Wilson, seconded by Jerilou Gallagher, to accept June 2, 2025, meeting minutes.  Motion carried.   6 – YEAS 0 – NAYS

Motioned by Jerilou Gallagher, seconded by Jim Mayer to accept the agenda.   Motion carried.  6 - YEAS 0 - NAYS

Motioned by Jason Blemaster, seconded by Jim Mayer to accept the transaction report.  Motion carried.  6 – YEAS 0 – NAYS

Motioned by Rick Wilson, seconded by Cathy Feighner, to pay the current bills.  6 – YEAS 0 – NAYS

VISITOR

Rick Helms came to the council to discuss the concern about a property that has not mowed lawn and also dogs running at large and had bitten him.  He made a statement that he had called the authorities and the council instructed to follow up with this action with the authorities.  Village will send letters stating the blight issue and dogs running at large.

DPW – JUNE25

Water

-MAY Monthly Operating Report and sample results submitted- 6/3/25, JUNE bacti sample- 6/9/25

-Water meters installed to date – 101

-EJ Hydrant delivered-6/12/25, Miller Bros to install in the next 1-2 weeks.

-Second hydrant on order for Railroad/Sickles location. Operating stem snapped at valve base from corrosion same as the last hydrant that is in need of being replaced. There are an additional 4 hydrants of this same age we can expect to have this same non-repairable failure.

-TMF field work complete, awaiting full report

-Spicer has started WRS work. Hydrant flow testing completed -5/14/25

-Repaired Community Center/DPW leaking water service- 6/18/25

-Submitted yearly Consumer Confidence Report to EGLE and Health Dept. -6/20/25

- EGLE site visit – 6/19/25

Wastewater

-MAY25 DMR submitted- 6/18/25 (including 2 discharge events)

- Cell #1 West Aerator bearing failure-6/6/25. In process of rebuilding lower pump shaft (new bearings and seals) Complete lower unit replacement $5432.70 plus freight

-Attended Wastewater PFAS training in MT. P- 6/10/25

-Greased Cell # 1 East Aerator pump shaft – 6/12/25

- Power outage at Robison ST Pump Station- 6/12/25

-Plummers working to get sewer lining into their schedule for Arnold/E. Fulton area

-Spray lagoon Herbicide - 6/23/25

-Pump Station #1 CALL OUT ALARM- found float plugged -6/24/25 8:17 PM

-Phone call “audible alarm at Pump Station#1”- found township station in alarm, not #1- 6/24/25 7PM

-Lagoon fencing needs repairs. Tree in Pine Creek near discharge pipe needs removed as to not make floating foam accumulate. Some trees have been removed. Hole in discharge pipe to creek suspected, further investigation needed

-Lagoon discharge monitoring reports will be modified to show new calculated discharge amounts for all of 2024 discharges.

-NuSystems (Clearbrooke) submitted odor prevention proposal for lagoon. Still looking at other possible options (Hydrogen Peroxide) or modifications to NuSystems proposal

Streets

-Robinson St. crack poured- 6/2/25 and chip sealed- 6/10/25

General

-Ballfield fence partial replacement delayed by installers

-Blemaster Plumbing has new wash sink with mount in stock

-Watering flower planters 3 times a week

-Pea stone in new playground area at ballfield- 5/2/25

-rebuilt back drive/parking for village office -6/23/25

-Stripped topsoil and hauled away sod-6/18/25, drilled 47 holes for playground footers- 6/19/25

FD building

Equipment

John Ney III 7/7/2025

COMPTROLLER

Julie informed the council that MRWA will be here June 22, 2025 – July 25, 2025, to do a rate study for water & sewer.

Julie had budget amendments for the council to review and go over.  Jason Blemaster made a motion to approve the budget amendments, seconded by Jim Mayer.  Motion carried.  6 – YEAS 0 – NAYS

NEW BUSINESS

Blight Update:

Discussed three properties that will receive blight letters.

No further business, motion to adjourn at 8:36 pm by Jason Blemaster, seconded by Cathy Feighner.  Motion carried.