Regular Council Meeting – Monday, June 2, 2025

Council Present: Jason Blemaster, Cathy Feighner, Jerilou Gallagher, Keith Kaminski, Jim Mayer & Rick Wilson

Also, Present:  Janell Dunham, Julie Henry & John Ney

President Janell Dunham called meeting to order 7:06 pm

John, DPW Director opened sealed bids for the 1997 Blue Chevy truck:  two were received – Sam Spade $400.00 & Matt Carmody $500.00.  Jason Blemaster made a motion to accept and sell the 1997 Blue Chevy to Matt Carmody, seconded by Keith Kaminski.  Motion carried.  6 – YEAS 0 - NAYS

Motioned by Jerilou Gallagher, seconded by Rick Wilson, to accept May 5, 2025, meeting minutes.  Motion carried.   6 – YEAS 0 – NAYS

Motioned by Jim Mayer, seconded by Jason Blemaster, to accept the agenda with addition of (D) Car Show.   Motion carried.  6 - YEAS 0 - NAYS

Motioned by Jason Blemaster, seconded by Cathy Feighner to accept the transaction report.  Motion carried.  6 – YEAS 0 – NAYS

Motioned by Jim Mayer, seconded by Keith Kaminski, to pay the current bills.  6 – YEAS 0 – NAYS

DPW – MAY25

Water

-APR Monthly Operating Report and sample results submitted 5.5.25, MAY bacti sample 5.6.25

-Water meters installed to date – 101

-5.20.25 Well #4 put back in-service (well cleaned, new pump, motor and drop pipe)

-EJ Hydrant was not correct configuration at pick-up on 4.2.25.  New hydrant on rush order.  Still awaiting for delivery

-TMF grant work – MEC started next round of service line verification 5.29.25 (25 out of 50 done)

_Hydrant Flushing completed 5.8.25

-Spicer has started WRS work.  Hydrant flow testing completed 5.14.25

Wastewater

General

FD Building

Equipment

Jim Mayer made a motion to go ahead with the well repair, seconded by Keith Kaminski.  Motion carried.  6 -YEAS 0 – NAYS

Jim Mayer made a motion to have Plummers Environment go ahead with the CIP lining on the sewer lines, seconded by Rick Wilson.  Motion carried.  6 -YEAS 0 – NAYS

John recommended new roofs for the park dugouts and generator shed at the lagoon.

Jim Mayer made a motion to spend up to $9,600.00 on fencing, seconded by Cathy Feighner. Motion carried. 6-YEAS 0 – NAYS

Keith Kaminski moved for John to order the reviewed tool chest, seconded by Rick Wilson. Motion carried. 6 - YEAS 0 – NAYS

Blemaster’s Plumbing & Heating has replaced the anode rod at the Community Center.

John suggested to get bigger barrel for flowers at the Community Center.

COMPTROLLER

Julie provided the council with an updated Utility Bill Policy.  Jim Mayer made a motion to accept as written, seconded by Jerilou Gallagher.  Motion carried.  6 – YEAS 0 – NAYS

Julie spoke to the council concerning the sewer revenues and expenditures.  Adam, from Maner Costerisan, spoke with Julie about this when he was on-site in May.  It was discussed about having a colleague from Maner Costerisan come in and do a rate study and get this fund in better shape.  John indicated that Michigan Rural Water Association do rate studies free of charge, council asked Julie to contact MRWA for the help as it was a service they do at no charge where Maner Costerisan would be a significant charge.  Julie will make a phone call on Tuesday June 3, 2025.

Julie also needed to transfer some funds from a saving account to the water fund, balances of each account were provided by Julie.  The council decided to move the funds from Michigan Class Water Savings to the Pool cash at Commercial Bank.  Julie will do this on Tuesday 6.3.25.

NEW BUSINESS

Janell asked if John would get the flower boxes out and set them in place for the season.

Car Show – Sunday, August 3, 2025, in Remembrance of Bob Sali.

No further business, motion to adjourn at 8:47 pm by Rick Wilson, seconded by Cathy Feighner.  Motion carried.