Regular Council Meeting – Monday, May 5, 2025

Council Present: Jason Blemaster, Cathy Feighner, Jerilou Gallagher, Keith Kaminski, Jim Mayer & Rick Wilson

Also, Present:  Janell Dunham, Julie Henry & John Ney

President Janell Dunham called meeting to order 7:03 pm

Motioned by Rick Wilson, seconded by Cathy Feighner, to accept April 7, 2025, meeting minutes.  Motion carried.   6 – YEAS 0 – NAYS

Motioned by Jim Mayer, seconded by Jerilou Gallagher, to accept the agenda with addition of (D) Car Show.   Motion carried.  6 - YEAS 0 - NAYS

Motioned by Jim Mayer, seconded by Cathy Feighner to accept the transaction report.  Motion carried.  6 – YEAS 0 – NAYS

Motioned by Rick Wilson, seconded by Keith Kaminski, to pay the current bills.  6 – YEAS 0 – NAYS

DPW – APR25

Water

-Mar Monthly Operating Report and sample results submitted 5/5/25, APR bacti sample 4/14/25.

-Water meters installed to date – 101.

-4/18/25 Well #4 pulled for poor performance (holes in drop pipe found as suspected).

-4/22/25 Well #4 video (build up found on rock formation, stilling tube at bottom cleaning suggested).

*NEW drop pipe, well pump, wire, cleaning recommended for WELL #4.  Quote attached.

-EJ Hydrant was not correct at pick-up 4/2/25.  New hydrant on rush order.

-TMF for more verification.  MEC planning on August 2025 but could fit in sooner because of being only a couple days of work for them.

-Continue to look for clarification of galvanized service lines needing replacement or not.  Direction?

-Hydrant Flushing 5/7, 5/8 and 5/9.

-Spicer has started WRS work.  Hydrant flow testing scheduled for 5/14/25.

Wastewater

-MAR25 DMR submitted 2 days late.  MAR25 was a No Discharge report which does not follow routine, error on me.

*Major repair to Sewer Main at E. Fulton and Arnold St intersection after call for back-up and inspection by Plummers.  North side of manhole.  Previous repairs were to the south of the manhole.  Recommend CIP liner for both north line and west line at this time.  Quote attached.

-Leaking air relief valve found along Robinson St – (Eifert quote $7380 to replace with poly unit/stainless hardware and valve if needed).  Waiting on Aire Relief to come in for repair.

-5 day lagoon discharge conducted in April.

-Lagoon fencing needs repairs.  Tree in Pine Creek near discharge pipe needs removed as to not make floating foam accumulate.  Some trees have been removed.  Hole in discharge pipe to creek suspected, further investigation needed.

-Lagoon discharge monitoring reports will be modified to show new calculated discharge amounts for all of 2024 discharges.

-Prepping for 2 Lagoon discharges in May, 5-day discharge to conclude 5/5/25, 4-day discharge to begin later in MAY

-Further investigation on going into lagoon smell complaints.

Streets

-Brush pick-up and weekly mowing has started.

General

-Ballfield maintenance – weekly dragging/smoothing of the field.

*Ballfield fence repairs.

*New wash sink/sample tam area request.

*New workbench/cabinet for drinking water sampling,  Quote attached.

FD Building

Equipment

Jim Mayer made a motion to go ahead with the well repair, seconded by Keith Kaminski.  Motion carried.  6 -YEAS 0 – NAYS

Jim Mayer made a motion to have Plummers Environment go ahead with the CIP lining on the sewer lines, seconded by Rick Wilson.  Motion carried.  6 -YEAS 0 – NAYS

John recommended new roofs for the park dugouts and generator shed at the lagoon.

Jim Mayer made a motion to spend up to $9,600.00 on fencing, seconded by Cathy Feighner. Motion carried. 6-YEAS 0 – NAYS

Keith Kaminski moved for John to order the reviewed tool chest, seconded by Rick Wilson. Motion carried. 6 - YEAS 0 – NAYS

Blemaster’s Plumbing & Heating has replaced the anode rod at the Community Center.

John suggested to get bigger barrel for flowers at the Community Center.

COMPTROLLER

Julie provided the council with an updated Utility Bill Policy.  Jim Mayer made a motion to accept as written, seconded by Jerilou Gallagher.  Motion carried.  6 – YEAS 0 – NAYS

NEW BUSINESS

Janell asked if John would get the flower boxes out and set them in place for the season.

Car Show – Sunday, August 3, 2025, in Remembrance of Bob Sali.

No further business, motion to adjourn at 8:47 pm by Rick Wilson, seconded by Cathy Feighner.  Motion carried.