Fire Safety Awareness Level 1

(Virtual Training Course)

To discuss any of the content in this Virtual Training Workbook please follow instructions within and details given to you by your Trainer

Dear Learner,

Welcome to your HTN Training Resource on Fire Safety Awareness that has been designed at Level 1.

As I have explained in your introduction letter you will have the support of myself, a registered trainer with the Healthcare Trainers Network Ltd, should you get stuck on any aspect of your learning – just use the details I have provided to contact me.

This trainer resource is based on the compliance requirements placed on the organisation by the Health & Safety at Work (Etc.) Act of 1974; Fire Safety Act; the Regulatory Reform (Fire Safety) Order 2005 and requirements placed on healthcare employers by industry standards.

Apart from ensuring compliance with the above, the training resource is useful in assisting Diploma in Health & Social Care candidates with the various elements of their learning.

Your learning objectives are that at the end of training you will be able to:

- List their obligations and that of their employer regarding fire safety

- Describe actions to be taken in the event of a fire occurring at work

- Identify the correct fire extinguisher for use on a range of different fires

- Describe how fires occur and spread

- Describe how they can reduce the risk of fire occurring.

- Understand how they may reduce the threat of fire in their homes

At each stage of your learning there are questions that are designed to ensure you stay on track.

When you have completed the course question paper, please ask your manager / coordinator to scan it and send it to me via email for assessment. The hard copy of the paper will be kept on your training records.

We will make a start now by looking at the principles of fire.

Principles of Fire

All things to do with fire and fire safety come in groups of three Combustion, Spread and Control of fire.

COMBUSTION

For a fire to start, three elements must combine:

- heat

- fuel

- oxygen

This is known as "The Triangle of Fire" and using lighting a gas hob as an example:

The match or spark provides the heat, the gas provides the fuel and oxygen is present in the air.

Gas is only one of several fuels that can burn, other forms of fuel that you will find in the workplace include:

- wood e.g., chairs, desks, etc.

- coal e.g., used as domestic fuel.

- petrol e.g., used for cars, mowers, etc.

- oils e.g., cooking, lubrication.

- paper e.g., rubbish.

- clothing e.g., coats, dresses, etc.

- upholstery e.g., curtains, chair coverings, etc.

- solvents e.g., glues, etc.

- chemicals e.g., methanol.

- waste e.g., soiled linen and dressings.

FIRE SPREAD

Fire will spread through three basic principles governing the transmission of heat:

- Conduction

- Radiation

- Convection

CONDUCTION

The principle of conduction involves the transmission of heat through material. In our example a steel beam in the vicinity of a fire has heated. That heat has been transmitted through the metal and has ignited flammable materials elsewhere in the building.

RADIATION

Radiation is the transmission of heat through air and we rely on this principle to warm ourselves in front of an open fire or to dry our clothes on a clotheshorse. The principle works in the spread of fire in a similar way. Heat from the fire is radiated outwards and starts to heat materials in the vicinity, then as shown in our diagram the temperature rises and these can ignite.

CONVECTION

The principle of convection currents and transmission of heat from a fire, are that when air is heated it will become less dense and will rise to the highest point, leaving a vacuum in its place. This vacuum is immediately filled with colder air from the lower level and this creates a circular movement of air.

This is the most dangerous form of fire spread, as it is through convection that heat, smoke and toxic fumes can quickly be spread throughout a building. The effect of convection currents is shown in the diagram.

The air movement has carried with it combustion gases and heat to the highest levels of the building where they have heated and ignited fuels that are present. This same air movement has also carried smoke and toxic fumes into the staircase and escape corridors that have rendered them unable to use.

CONTROL

There are three basic principles of STARVATION, COOLING and SMOTHERING that can help control the spread of fire.

STARVATION

Removing the combustible material, the "fuel", from the path of a fire checks its progress. Similarly, when all combustible material has been consumed, the fire will go out of its own accord. Thus, a bonfire in the garden will eventually go out, but it is always wise to put water on it, to make sure it is out, before leaving it.

COOLING

Reducing the temperature of the burning material by water or AFFF (Aqueous Film Forming Form) spray will inhibit the release of flammable vapours and thus reduce and control the fire.

Note that AFFF spray and water extinguishers should not be used on fires involving electricity.

SMOTHERING

Smothering is the removal or exclusion of oxygen from the fire. This may be achieved by use of AFFF spray, Dry Powder, CO2, Fire Blanket or by simply closing doors and windows.

Oxygen is necessary for a fire to start and that the oxygen is in the air. If you remove or starve the fire of air, it will go out.

When considering the use of certain extinguishers remember the effects of air starvation on the human body.

If a fire does occur you need to know exactly what to do, so here are the actions to take:

Action on discovering a fire:

A] Sound the fire alarm

B] Close doors and windows if possible

C] Initiate evacuation / partial evacuation procedure.

D] Leave by the safest Fire Escape Route.

E] Attack the Fire with an appropriate extinguisher ONLY IF

TRAINED AND IT IS SAFE TO DO SO

Information the Fire Brigade would require from a person reporting a fire:

A] Telephone number.

B] Address and location of the fire.

C] Are all persons accounted for?

D] Hazardous materials involved.

Action to take on discovering that your fire exit was obstructed:

Remove the obstruction and inform the Local Manager, Fire Adviser and if possible, the person responsible for causing the obstruction.

Note: An obstruction of a fire exit is an offence against Fire Regulations and may result in a criminal prosecution.

Fires spread quickly as these photos of the same fire developing show:

1 Minute			2 Minutes			2½ Minutes

WORKPLACE SAFETY

Let us look at a range of fire safety topics which are relevant to many workplaces.

Topic Point 1 Furniture Brought from Home

Fires in the workplace can be the result of bringing to work comfortable chairs from home. Safety Officers are quiet often shocked while undertaking audits at the occasion's when Settees, Chairs, Cushions and Curtains have been brought into the work environment from home.

The availability of this furniture is often due to people purchasing flame retardant furnishings for their own home and deciding that there is still life in the old furniture – so I’ll take it into work. The problem is that the workplace now has an item of furniture that is not fire retardant, where everything they have purchased is. What seemed like a great idea has now put a lot of people unnecessarily in danger.

Furniture is not the only thing employees bring into the workplace that have the potential to cause a fire. Let us look at some more:

Electrical Tools - just brought in to help!

The item is not formally tested prior to use, is poorly wired, has the wrong fuse, can overheat, and cause a fire -   Is it really helping?

T V / Radios – just brought in so we could catch up with the football in the staff room on a break. Great, but it is illegal, again untested, could easily get left on in an unattended staff room and then overheat and cause a fire – Would the person who brought in the TV / Radio be popular?

Old Heater Surplus to requirements – Been a bit cold in the staff room, not needed here anymore so I will take it in there. Will make it cosy!

Great, but again untested, could easily get left on in an unattended staff room and then overheat and cause a fire – Again would the person who brought in the Old Heater be popular?

Note: You should report insufficient heating in the workplace and not to

try and rectify the situation by their own methods.

Topic Point 2 Response to Fire Alarm

Many people are injured or lose their lives by not paying attention when the fire alarm is sounded.

These persons last words may well have been:

"What idiot set that off, I can't see a fire"

In most cases when you hear the fire alarm you will not see the fire, but you ignore the alarm at your peril.

Other famous last words that could be used in fire situations are "It’s just another drill" and "Take your time it’s only a drill"

When the alarm sounds all staff must react in a positive manner each time. It may not be a drill and seconds may be vital to ensure the safe evacuation of the building.

Another time when your safety can be compromised is during the weekly

fire alarm test. Could this be another of those famous last words:

"This alarm test is lasting a long time"

If the alarm continues for longer than the normal test time you must

react to the alarm and evacuate.

ALWAYS EVACUATE THE BUILDING – DRILLS SAVE LIVES TOO!

Topic Point 3 Safety with Hot Work & Flammable Gases

On occasion in a care home or a domestic dwelling occupied by a Service User there may be a requirement for cutting or welding to be carried out. What are the main safety measures associated with cutting or welding?

The main safety measures are:

- Hot Work Permit.

- All combustible materials, particularly flammable liquids, must be removed from the area where sparks etc., could land.

- Suitable fire equipment is on hand, Water / AFFF.

- If possible, should be in an approved welding bay area.

- Use of welding screens when not working in an approved welding area.

- Ensure sparks from the work, cannot fall onto combustible materials.

In some business there may be a handyman’s / engineer’s workshop. The maximum quantity of flammable liquids or gases that should be

kept in a workshop are the minimum quantities necessary for the operation in hand.

Cylinders should be kept upright and where possible on a trolley. Other cylinders should be stored in an approved storage area only.

The handyman’s / engineer’s workshop may also have flammable

liquids and these need to be stored in approved containers which are

correctly labelled and securely stopped, in authorised storage areas.

Petroleum spirit must be kept in properly marked and suitable containers in quantities no greater than prescribed by the regulations.

By-products of petroleum present an equally dangerous fire hazard. Liquids such as adhesives, paints, thinners, printing ink, and many other substances found in use on the premises also need to be stored under licensed conditions. Failure to do so may result in prosecution.

Topic Point 4 Thought for the Safety of Others

Often the lack of thought for the safety of others while working in a very unsafe way causes fire related problems.

The occasion's below have been picked up on Safety Audits which have identified when people’s thoughtless actions can influence the

fire safety of others:

- Fire doors wedged open

- Allowing rubbish to accumulate outside fire exits

- Parking outside fire doors

- Leaving packages that block the means of escape

- Obstructing fire alarm call points and fire equipment

- Unsafe disposal of flammable containers.

Topic Point 5 Attention to Detail

The lack of attention to detail can also cause fire related problems.

Think about the consequences of a lorry driver not paying attention while he is checking the cargo of the dangerous goods.

What about the consequences of a leaking oil valve over a period of three weeks? Someone must have the responsibility to carry out checks to ensure the leak is picked up. That person’s failure to pay attention to detail could result in a major incident.

Topic Point 6 Potential for Cumulative Actions to Create Major Incidents

It is often two unrelated events which have the potential to cause a major incident in the workplace. Unrelated circumstances can come together to create a disaster.

A flammable gas leak in an official storage area together with smoking in the no smoking zone around the area.

Poor Waste Storage together with lack of security. Potential for an arson attack.

Check your learning with these true or false questions, circle the right answer:

Fire alarms are tested on a weekly basis.			True	False

Water extinguishers can be used on electrical fires.		True	False

The three sides of the triangle of fire are heat, oxygen

and smoke.								True	False

It is safe to ignore a fire alarm if you cannot see a fire.	True	False

Fires can be spread by conduction.				True	False

Fire exits should be kept clear of rubbish.			True	False

You can check your answers at the rear of this learning resource.

Extinguishers

Extinguishers in the United Kingdom, as throughout Europe, are red. Under the standard BS EN 3 a band or circle of a second colour covering between 5–10% of the surface area of the extinguisher indicates the contents.

Before 1997, the entire body of the fire extinguisher was colour coded according to the type of extinguishing agent. The old-style colours were red for water, black for carbon dioxide, blue for dry powder and beige for AFFF foam spray.

Water

Water extinguishers conforming to the new standard are RED in colour but may incorporate a WHITE stripe in the upper part of the instruction label.

A.F.F.F. (Aqueous Film Forming Foam) Spray Foam

A.F.F.F. extinguishers conforming to the new standard are RED and incorporate a BEIGE stripe in the upper part of the instruction label.

Dry Powder

Dry Powder extinguishers conforming to the new standard are RED and incorporate a BLUE stripe in the upper part of the instruction label.

Carbon Dioxide

Carbon Dioxide extinguishers conforming to the new standard are RED and incorporate a BLACK stripe in the upper part of the instruction label.

The danger with Carbon Dioxide extinguisher is that if used in a confined space it can cause suffocation. Ice burns can also be caused to the hands as when the gas is released it is freezing – don’t hold the horn of the extinguisher. Suitable for use on electrical fires.

FIRE RULES

These are the rules on the safe use of portable fire equipment is:

RULE ONE - FIGHT THE FIRE ONLY IF TRAINED AND IT IS SAFE TO

DO SO.

You need to be aware:

- Of the dangers of "smoke inhalation" and the toxic nature of some products of combustion

- That fires develop rapidly, if highly flammable materials are present, that development is accelerated further

- That extinguishers are for first aid firefighting and not for combating large fires

- That the individual’s safety is of paramount importance.

RULE TWO - ALWAYS KEEP YOURSELF BETWEEN THE FIRE AND

YOUR ESCAPE ROUTE.

Be aware that smoke can build up behind you and fire can spread, in some circumstances, faster than you can run. If fighting a fire, it is useful to have someone with you ensure the escape route is clear.

RULE THREE - DO NOT FIGHT FIRES IN CONFINED SPACES.

A confined space is in relation to a fire could be:

- Small walk in cupboards.

- Small rooms.

- Pedestrian tunnels.

- Boiler rooms.

As previously mentioned, you do not want to get trapped.

RULE FOUR - WHEN DEALING WITH FIRES INVOLVING LIVE

ELECTRICAL EQUIPMENT ISOLATE THE SUPPLY

BEFORE TACKLING THE FIRE.

In most situations it is a failure of the circuits which has caused the fire.

Isolation of the supply would remove the source of heat / ignition.

Before an AFFF spray extinguisher is used on live electrical equipment, supplies must be isolated.

DOMESTIC FIRE SAFETY

A recent fire in the Wrexham area showed effects of a house which resulted in the unfortunate death of seven children.

A rocking chair containing polyurethane foam filling was identified as the seat of the fire. Evidence indicated a rapid-fire development and spread, with toxic fumes and gases being carried via the staircase.

The investigation also revealed that batteries from the two smoke detectors in the house had been removed.

The importance has been stressed in the media to the fitting of smoke

detectors.

When a fire does occur the one sure way that you and your family will be awakened is by a correctly fitted and maintained smoke detector.

The fire brigade stresses the importance of regularly testing smoke detectors and changing batteries.

The best place to fit a smoke detector is in the upper most point of their hall and stairs, smoke rises to the upper most point.

The importance has been stressed on having an emergency

action plan for your place of work but having one for your home is also sensible.

Should the smoke detector go off during the night, having a plan in place will assist you.

You need to consider these key points when formulating their action plan:

- Alternative Escape Routes.

- Dangers with Double Glazing.

- Keeping Away from the Smoke.

- Involving all family members, including children.

- Phoning the Fire Brigade.

- Alternative method of phoning the Fire Brigade.

- Checks before going to bed.

- Home Fire Safety Checks.

IF YOU WERE THE BOSS

Imagine you are the owner of a purpose-built residential care home. Think about all the fire equipment and procedures you would need to have in place to ensure the safety of residents and your employees. This list gives you an idea of how much would be involved and it is not complete:

- Fire extinguishers – types, locations, checks, servicing

- Fire Blankets – types, locations

- Fire Call Points – locations, checks, servicing

- Smoke / Heat Detectors – locations, checks, servicing

- Fire Doors – locations, types

- Storage of flammables & chemicals

- Evacuation Drills – when and how recorded

- Sprinkler System – where fitted and when tested

- Smoking Areas – where and when

- Fire Assembly Point – where and how many

- Fire Warden – who and how trained

- Employee Fire Training – when and how trained

- Fire Alarm System – type, zoned, when tested, when serviced, panel location

- Spare Break Glasses – how many and where stored

- Furnishings – flame resistant

- Fire Procedures for the residential home

- Fire Action Notices – type, location

- Fire Exits – type, location

- Fire Exit Signage – type, location

- Storage & Use of Gasses – where, when, who, how

- Procedures for Hot Work at the Premises – where, when, who, how

- Fire Risk Assessment – where, when, who, how

- Access for Fire Services

- Fire Record Book

- Etc.

(This list is not complete and could easily be added to)

In House Policies & Procedures

Discuss any in house policies and procedures relating to the Fire Safety that have been introduced within the working environment with your manager, supervisor, or training coordinator.

If, following the course, you feel additional policies and procedures are required explain where you feel these changes could be made.

These might come up in your discussion:

- The responsibilities placed on the organisation under the Regulatory Reform (Fire Safety) Order 2005.

- Relevant fire risk assessments for the premises, the findings and controls that have been put in place to minimise fire risks.

- The designated ‘Responsible Person’, Fire Marshals and their duties.

Check your learning with these true or false questions, circle the right answer:

Smoke detectors at home do not save lives.			True	False

You should not fight fires in confined spaces.			True	False

A blocked fire exit would not be considered a

major hazard.								True	False

Carbon Dioxide extinguishers are suitable for

electrical fires.								True	False

Fire evacuation drills in the workplace can save lives.	True	False

There is no need to test your smoke detectors regularly.	True	False

You can check your answers at the rear of this learning resource.

Answers to the learning questions in this training resource:

Fire alarms are tested on a weekly basis.			True	False

Water extinguishers can be used on electrical fires.		True	False

The three sides of the triangle of fire are heat, oxygen

and smoke.								True	False

It is safe to ignore a fire alarm if you cannot see a fire.	True	False

Fires can be spread by conduction.				True	False

Fire exits should be kept clear of rubbish.			True	False

Smoke detectors at home do not save lives.			True	False

You should not fight fires in confined spaces.			True	False

A blocked fire exit would not be considered a

major hazard.								True	False

Carbon Dioxide extinguishers are suitable for

electrical fires.								True	False

Fire evacuation drills in the workplace can save lives.	True	False

There is no need to test your smoke detectors regularly.	True	False