## WATER SOFTENER
Submit to info@macwatertech.com
Questions? (913) 375-3483
www.macwatertechnologies.com
MACU®-Soft Water Softener System Sizing Checklist
CONTACT INFORMATION
PREPARED BY: |  | DATE:
ADDRESS: |  | PHONE:
COMPANY: |  | EMAIL:
FACILITY CONTACT INFORMATION
NAME: |  | DATE:
ADDRESS: |  | PHONE:
COMPANY: |  | EMAIL:
APPLICATION DATA
IS THIS REPLACING AN EXISTING SYSTEM? | YES | FALSE
| NO | FALSE
IF YES, TANK DIAMETER (INCHES)?
IF YES, # OF TANKS?
PEAK/MAXIMUM FLOW RATE (GPM):
HOW MANY GALLONS PER DAY USAGE?
HOW MANY HOURS PER DAY USAGE?
OR, IF BOILER PRETREATMENT:
WHAT IS THE STEAM POUNDS PER HOUR?
WHAT IS THE % CONDENSATE RETURN?
TOTAL WATER HARDNESS: | GRAINS PER GALLON | FALSE
| mg/L OR PPM | FALSE
| UNKNOWN | FALSE
PIPE SIZE REQUIREMENT | DOESN'T MATTER | FALSE
| 1" | FALSE
| 2" | FALSE
| 3" | FALSE
| OTHER | FALSE
VESSEL PREFERENCE: | FRP (STANDARD) | FALSE
| CARBON STEEL | FALSE
| 304 SS | FALSE
| 316 SS | FALSE
IS THE OPERATING PRESSURE BETWEEN 30 AND 87 PSIG? | YES | FALSE
| NO | FALSE
IS THE FEEDWATER TEMPERATURE BETWEEN 41 AND 133°F? | YES | FALSE
| NO | FALSE
DESIRED OUTLET HARDNESS: | STANDARD | FALSE
| ENGINEERED | FALSE | Note: This is only needed if absolutely requires less than 3 mg/L. Example would be for a high-pressure steam boiler.
IS REDUNDANCY REQUIRED? | YES | FALSE
| NO | FALSE
| UNSURE | FALSE
DO YOU WANT IT SKID MOUNTED? | NO | FALSE
| UNSURE | FALSE
| YES | FALSE
IF YES, WHAT SKID MATERIAL? | EPOXY COATED STEEL (STANDARD) | FALSE
| 304 SS | FALSE
| 316 SS | FALSE
| OTHER | FALSE
IF YES WHAT PIPING MATERIAL? | STANDARD (SCHEDULE 80 PVC) | FALSE
| COPPER | FALSE
| 304 SS | FALSE
| 316 SS | FALSE
| OTHER | FALSE
IF YES, DOES THE BRINE TANK NEED TO BE ON THE SKID? | YES | FALSE
| NO (STANDARD) | FALSE
ANY FOOTPRINT RESTRICTIONS? | NO | FALSE
| YES AND WHAT ARE THEY? | FALSE
COMMENTS ON CONTROL NEEDS OR OTHER:

## BRINE RECLAIM
Submit to info@macwatertech.com
Questions? (913) 375-3483
www.macwatertechnologies.com
MACU®-BrineSVR Water Softener Brine Reclaim System Sizing Checklist
CONTACT INFORMATION
PREPARED BY: |  | DATE:
ADDRESS: |  | PHONE:
COMPANY: |  | EMAIL:
FACILITY CONTACT INFORMATION
NAME: |  | DATE:
ADDRESS: |  | PHONE:
COMPANY: |  | EMAIL:
APPLICATION DATA
DRAIN PIPE SIZE? | 1" | FALSE
| 2" | FALSE
| 3" | FALSE
| OTHER | FALSE
DRAIN PIPE MATERIAL | SCHEDULE 40 PVC | FALSE
| SCHEDULE 80 PVC | FALSE
| CARBON STEEL | FALSE
| COPPER | FALSE
| OTHER | FALSE
WATER VOLUME BETWEEN EACH REGENERATION (GALLONS)?
| UNSURE | FALSE
GRAINS PER GALLON TOTAL WATER HARDNESS FEEDING THE WATER SOFTENERS?
COMMENTS ON CONTROL NEEDS OR OTHER:

## REVERSE OSMOSIS
Submit to info@macwatertech.com
Questions? (913) 375-3483
www.macwatertechnologies.com
MACU®-Pure Reverse Osmoisis System Sizing Checklist
CONTACT INFORMATION
PREPARED BY: |  | DATE:
ADDRESS: |  | PHONE:
COMPANY: |  | EMAIL:
FACILITY CONTACT INFORMATION
NAME: |  | DATE:
ADDRESS: |  | PHONE:
COMPANY: |  | EMAIL:
APPLICATION DATA
WATER IS TO BE USED FOR | PHARMACEUTICAL | FALSE
| FOOD AND BEVERAGE | FALSE
| BOILER FEED | FALSE
| POTABLE | FALSE
| OTHER | FALSE
IS THIS REPLACING AN EXISTING SYSTEM? | NO | FALSE
| YES | FALSE
HOW MANY PRESSURE VESSELS?
HOW MANY MEMBRANE?
| WHAT IS THE SIZE OF THE MEMBRANE? |  | TYPICAL SIZES ARE 4" x 40" OR 8" x 40"
SYSTEM FOOTPRINT(X x Y x Z)
INLET WATER TOTAL DISOLVED SOLIDS (TDS): | mg/l OR PPM | FALSE
| µs/cm | FALSE
WATER SOURCE: | WELL | FALSE
| MUNICIPAL | FALSE
| SURFACE | FALSE
| WASTEWATER | FALSE
| SEAWATER | FALSE
IS A WATER ANALYSIS AVAILABLE? | YES | FALSE | IF YES, PLEASE INCLUDE WITH THIS PAPERWORK
| NO | FALSE
CITY AND STATE OF WATER SOURCE FOR WATER QUALITY REPORT
PERMEATE FLOW RATE (GPM):
PERMEATE FLOW VOLUME (GALLONS PER DAY):
IS THE INLET WATER PRESSURE HIGHER THAN 30 PSIG? | YES | FALSE
| NO | FALSE
WILL THE INLET WATER BE TEMPERED? | YES | FALSE | WHAT TEMPERATURE (°F)?
| NO | FALSE
| UNSURE | FALSE
HOW LONG DO YOU WANT THE SYSTEM TO RUN IN-BETWEEN CLEAN-IN-PLACES (CIPS)?
| UNSURE | FALSE
DO YOU WANT A CIP SKID INCLUDED? | YES | FALSE
| NO | FALSE
INLET PIPE SIZE REQUIREMENT | DOESN'T MATTER | FALSE
| 1" | FALSE
| 2" | FALSE
| 3" | FALSE
| OTHER | FALSE
IS THERE EXISTING PRETREATMENT? | NO | FALSE
| YES | FALSE
IF YES, WHAT IS IT?
DOES IT NEED PRETEATMENT? | MULTI-MEDIA | FALSE
| CARBON | FALSE
| SODIUM METABISULFITE | FALSE
| WATER SOFTENER | FALSE
| ANTISCALANT | FALSE
| PH ADJUSTMENT | FALSE
| HEAT EXCHANGER / WATER HEATER | FALSE
| BOOSTER PUMP | FALSE
| HOLDING TANK(S) | FALSE
| UV | FALSE
| OTHER | FALSE
| UNSURE | FALSE
IS REDUNDANCY REQUIRED? | YES | FALSE
| NO | FALSE
| UNSURE | FALSE
SKID MATERIAL | EPOXY COATED (STANDARD) | FALSE
| 304 SS | FALSE
| 316 SS | FALSE
| OTHER | FALSE
ANY FOOTPRINT RESTRICTIONS?
INLET PIPING MATERIAL | SCH. 80 PVC (STANDARD) | FALSE
| 304 SS | FALSE
| OTHER | FALSE
HIGH-PRESSURE PIPING MATERIAL | SCH. 80 PVC (STANDARD) | FALSE
| 304 SS | FALSE
| OTHER | FALSE
PERMEATE PIPING MATERIAL | SCH. 80 PVC (STANDARD) | FALSE
| 316 SS | FALSE
| HOMOGENEOUS POLYPOPYLENE | FALSE
| OTHER | FALSE
DRAIN PIPING MATERIAL | SCH. 80 PVC (STANDARD) | FALSE
| OTHER | FALSE
CONTROL NEEDS | STANDARD BASIC | FALSE
| PLC WITH COLOR TOUCHSCREEN | FALSE | OUR MACU®-TOUCH CONTROL PACKAGE
| OTHER | FALSE
ANY FOOTPRINT RESTICTIONS?
ANY INTEREST IN AFTER-THE-SALE MAINTENANCE SUPPORT PROGRAMS? | YES | FALSE
| NO | FALSE
DO YOU WANT TO BE CONTACTED BY AN ENGINEER TO DISCUSS WATER RECOVERY? |  | FALSE
IF THIS IS FEEDING A NEW HIGH PURITY LOOP DO YOU WANT AND ENGINEER TO CONTACT YOU TO DISCUSS A FULL TURN-KEY EQUIPMENT OPTIONS? |  | YES | FALSE
IF YOU HAVE TARGET/MINIMUM PERMEATE WATER QUALITY SPECIFICATIONS PLEASE INCLUDE WITH THIS FORM
COMMENTS ON CONTROL NEEDS, DESIRED COMPONENT BRANDS, OR OTHER:

## CARBON
Submit to info@macwatertech.com
Questions? (913) 375-3483
www.macwatertechnologies.com
MACU®-Clean Carbon System Sizing Checklist
CONTACT INFORMATION
PREPARED BY: |  | DATE:
ADDRESS: |  | PHONE:
COMPANY: |  | EMAIL:
FACILITY CONTACT INFORMATION
NAME: |  | DATE:
ADDRESS: |  | PHONE:
COMPANY: |  | EMAIL:
APPLICATION DATA
IS THIS REPLACING AN EXISTING SYSTEM? | YES | FALSE
| NO | FALSE
IF YES, TANK DIAMETER (INCHES)?
IF YES, # OF TANKS?
IF YES, PIPE SIZE?
PEAK/MAXIMUM FLOW RATE (GPM):
PIPE SIZE REQUIREMENT | DOESN'T MATTER | FALSE
| 1" | FALSE
| 2" | FALSE
| 3" | FALSE
| OTHER | FALSE
TYPE OF APPLICATION | CHLORINE/CHLORAMINE REMOVAL | FALSE
| HEAVY METALS REMOVAL | FALSE
| FATS/OILS/GREASE REMOVAL | FALSE
| OTHER | FALSE
IS THIS IN FRONT OF A RO SYSTEM? | YES | FALSE
| NO | FALSE
VESSEL PREFERENCE: | FRP (STANDARD) | FALSE
| CARBON STEEL | FALSE
| 304 SS | FALSE
| 316 SS | FALSE
IS REDUNDANCY REQUIRED? | YES | FALSE
| NO | FALSE
| UNSURE | FALSE
IS THE OPERATING PRESSURE BETWEEN 30 AND 87 PSIG? | YES | FALSE
| NO | FALSE
IS THE FEEDWATER TEMPERATURE BETWEEN 41°F AND 133°F? | YES | FALSE
| NO | FALSE
DO YOU WANT IT SKID MOUNTED? | NO | FALSE
| UNSURE | FALSE
| YES | FALSE
IF YES, WHAT SKID MATERIAL? | EPOXY COATED STEEL (STANDARD) | FALSE
| 304 SS | FALSE
| 316 SS | FALSE
| OTHER | FALSE
IF YES WHAT PIPING MATERIAL? | STANDARD (SCHEDULE 80 PVC) | FALSE
| COPPER | FALSE
| 304 SS | FALSE
| 316 SS | FALSE
| OTHER? | FALSE
ANY FOOTPRINT RESTRICTIONS?
COMMENTS ON CONTROL NEEDS OR OTHER:

## MULTI MEDIA
Submit to info@macwatertech.com
Questions? (913) 375-3483
www.macwatertech.com
MACU®-Clean Multi-Media Sediment System Sizing Checklist
CONTACT INFORMATION
PREPARED BY: |  | DATE:
ADDRESS: |  | PHONE:
COMPANY: |  | EMAIL:
FACILITY CONTACT INFORMATION
NAME: |  | DATE:
ADDRESS: |  | PHONE:
COMPANY: |  | EMAIL:
APPLICATION DATA
IS THIS REPLACING AN EXISTING SYSTEM? | YES | FALSE
| NO | FALSE
IF YES, TANK DIAMETER (INCHES)?
IF YES, # OF TANKS?
IF YES, PIPE SIZE?
PEAK/MAXIMUM FLOW RATE (GPM):
PIPE SIZE REQUIREMENT | DOESN'T MATTER | FALSE
| 1" | FALSE
| 2" | FALSE
| 3" | FALSE
| OTHER | FALSE
TYPE OF APPLICATION | TSS Removal | FALSE
| Iron Removal | FALSE
| OTHER | FALSE
VESSEL PREFERENCE: | FRP (STANDARD) | FALSE
| CARBON STEEL | FALSE
| 304 SS | FALSE
| 316 SS | FALSE
IS REDUNDANCY REQUIRED? | YES | FALSE
| NO | FALSE
| UNSURE | FALSE
IS THE OPERATING PRESSURE BETWEEN 30 AND 87 PSIG? | YES | FALSE
| NO | FALSE
IS THE FEEDWATER TEMPERATURE BETWEEN 41 AND 133°F? | YES | FALSE
| NO | FALSE
DO YOU WANT IT SKID MOUNTED? | NO | FALSE
| UNSURE | FALSE
| YES | FALSE
IF YES, WHAT SKID MATERIAL? | EPOXY COATED STEEL (STANDARD) | FALSE
| 304 SS | FALSE
| 316 SS | FALSE
| OTHER | FALSE
IF YES WHAT PIPING MATERIAL? | STANDARD (SCHEDULE 80 PVC) | FALSE
| COPPER | FALSE
| 304 SS | FALSE
| 316 SS | FALSE
| OTHER | FALSE
ANY FOOTPRINT RESTRICTIONS?
COMMENTS ON CONTROL NEEDS OR OTHER: