STANDARD  SPECIFICATIONS

Smart Home Systems

- Ring WiFi camera doorbell hardwired

- Nest WiFi smart thermostat

Foundation

- 8’ poured concrete walls

- Delta MS waterproofing system

- R-15 vinyl backed insulation

- Perimeter footing drain to sump pump crock

- Treated mudsill anchored with anchor bolts

Framing

- 9’ ceiling height on first floor, vaulted ceiling in kitchen and great room on ranch plans

- ¾” Dry Guard tongue & groove subfloor (glued & fastened with ring shank nails to prevent floor squeaks)

- 7/16” oriented strand board exterior sheathing

- 2”x 6” exterior insulated walls

Roof

- Owens Corning TruDefinition Duration Architectural shingles w/ limited Life-time Warranty

- Engineered roof trusses (24” on center with 7/16” oriented strand board)

- Epilay synthetic felt & seal down shingles

- Vented soffit & ridge vents for ventilation

- Ice & water shield on eaves & roof valleys

Windows

- Harvey v-series vinyl single hung windows & slide with Low E Glass, Argon filled and Limited 10 year Warranty

Exterior Finishes

- Alside vinyl siding with multiple color options

- Therma-tru 6 panel fiberglass entry door per print

- Kichler exterior lights

- Maintenance free vinyl soffit & aluminum fascia

- Haas Door insulated steel garaged doors

- Garage door opener rough in

- Home Guard exterior barrier wrap

- Precast concrete stepping stones to the front door

- House numbers

- Kichler exterior garage & front door lights per print

- Seamless gutters installed with down spouts

- Homesite front, sides and rear to be graded and hydroseeded

Insulation

- Exterior house walls include an R-21 insulation

- Attic includes an R-38 blown in insulation

- Blower door test for air tightness

Bathroom Specifications

- One-piece fiberglass tub/shower in the main bathroom

- Luxury 6’ walk in shower, with ceramic tile walls, marble corer seat and soap dish, 1piece acrylic floor pan, and framed glass door in master bathroom

- American Standard Glenmere Chrome Fixtures

- Granite double bowl undermount sinks in master bath

- Single bowl granite vanity top in main bath with undermount sink

- Wolf line shaker style white vanities with drawers in main and master bathrooms

- Pedestal sink included in the powder room

- Kichler lighting included over all vanities

Kitchen Specifications

- Wolf shaker style white cabinetry with 42” uppers and island with accent color

- Group 1 granite countertops with stainless undermount sink and gourmet center island

- American Standard Hillsdale Chrome Faucet with pull down sprayer

- Ceramic subway tile back splash

- General Electric stainless self-cleaning smooth top  range/oven

- General Electric stainless microwave with recirculating vent OR range hood – per plan

- General Electric stainless dishwasher

- Luxury vinyl tile included in kitchen

- Kichler lights per print with recessed LED lights

- Insinkerator Badger garbage disposal

Interior Finishes

- Gas fireplace in great room

- Built in “cubbies” in mud room

- Steves 5 panel shaker smooth stepped hollow core interior doors

- Sherwin Williams SuperPaint flat interior wall and semi-gloss trim paint

- Luxury Vinyl Tile in great room, mud room, laundry room and all bath rooms

- Sand paint ceilings

- Recessed LED ceiling lights in all bedrooms

- ½” wallboard throughout

- Entire garage sheet rocked and fire taped

Mechanical Systems

- Bradford White 50-gallon electric hot water heater

- PEX water line with 25 Year Warranty

- Rheem high efficiency gas furnace

- Eaton 200 amp electrical service with circuit breakers

- 2 exterior frost-free water spigots

- Pass & Seymour 2 exterior GFI outlets

- Hardwired smoke detectors and carbon monoxide detectors per code

- 2 telephone jacks, 2 cable jacks